## Introduction
EPA Water Cybersecurity Assessment Tool (WCAT)
Please read the following instructions in their entirety prior to completing the assessment.
How to Use This Tool
1) | Open the 'Assessment Workbook' tab. For security reasons, the information fields at the top of the page may be completed so as to avoid identifying the utility: Utility ID - create a unique identifier; Water/Wastewater System (W/WS) staff - include initials for all staff participating in the assessment; Assessment Date - self explanatory; Assessor Name - identify a lead individual from an outside agency (for 3rd party assessments) or the utility (for self-assessments) who is filling out the questionnaire. Complete the questionnaire by selecting from the available dropdown options for each question ("Yes", "No", or "In Progress"). Be sure to document explanatory notes in the "Explanation of Response" column for each response.
Note: If the answer to an assessment question is unknown, please select "No" as the response. The assessment can be updated later once an appropriate response is known.
2) | Upon completion of the assessment, and before you move to the 'Assessment Report' tab, you must refresh the data in the tool to auto-complete the 'Assessment Report' and 'Risk Mitigation Plan' tabs. To do this, select "Data" from the ribbon at the top of the screen in Excel and click "Refresh All". Alternatively, you may press Alt+A+R.
3) | Now open the 'Assessment Report' tab and export/paste the Cybersecurity Assessment Report into Word. To do this, press Ctrl+A twice and then Ctrl+C. Open a blank Word document and press Ctrl+V to export/paste the report into the document. The Cybersecurity Assessment Report displays all checklist questions regardless of response. You may edit the report as needed. The report content is displayed in one Word table.
4) | Now open the 'Risk Mitigation Plan' tab and export/paste the Cybersecurity Risk Mitigation Plan to Word. To do this, press Ctrl+A twice and then Ctrl+C. Open to a blank Word document and press Ctrl+V to export/paste into the document. The Cybersecurity Risk Mitigation Plan will only display checklist items answered "No" or "In Progress" during the assessment. You may edit the plan as needed, as questions answered "yes" will create blank rows at the end of the plan. The plan content is displayed in one Word table.
If you have questions on how to use this tool, please contact EPA's Cybersecurity Technical Assistance Program for the Water Sector at the link below:
https://www.epa.gov/waterriskassessment/forms/cybersecurity-technical-assistance-water-utilities
EPA Cybersecurity Checklist Assessment for Water and Wastewater Systems
What is the purpose of this checklist assessment?
The purpose of this checklist assessment is to provide a method to evaluate cybersecurity at a water or wastewater system (W/WS) . When a W/WS uses operational technology (OT)[1], such as an industrial control system (ICS)[2], as part of its equipment or operation, then the adequacy of the cybersecurity of that OT for producing and distributing safe water should be evaluated. A commonly used OT at a W/WS is a Supervisory Control and Data Acquisition (SCADA) system.
The checklist assessment questions and recommended actions to address the questions are extracted directly from the Cybersecurity and Infrastructure Agency (CISA) 2022 Cross-Sector Cybersecurity Performance Goals. In this checklist assessment, the Cybersecurity Performance Goals are written in a more simplified question format to facilitate their use in evaluating a W/WS.
Link to Cybersecurity and Infrastructure Agency (CISA) 2022 Cross-Sector Cybersecurity Performance Goals below:
https://www.cisa.gov/cpg
Alternatives to the cybersecurity evaluation checklist include those from CISA[5], NIST[6], AWWA[7], ISO[8], and ISA/IEC[9].
How should this checklist assessment be used?
The checklist assessment questions are intended to identify gaps or potential vulnerabilities in current cybersecurity practices. W/WSs are encouraged to use the resources and technical assistance described in EPA guidance (link below) to address these gaps and reduce the risk that a cyberattack may compromise W/WS operations.
https://www.epa.gov/waterriskassessment/epa-cybersecurity-best-practices-water-sector
References
[1] | The term “operational technology” means hardware and software that detects or causes a change through the direct monitoring or control of physical devices, processes, and events in the enterprise. Internet of Things Cybersecurity Improvement Act of 2020, 15 U.S.C. § 271(3)(6) (Public Law 116-207).
[2] | An Industrial Control System is an information system used to control industrial processes such as manufacturing, product handling, production, and distribution. Industrial control systems include supervisory control and data acquisition systems, used to control geographically dispersed assets, as well as distributed control systems and smaller control systems using programmable logic controllers to control localized processes. Link to NIST Computer Security Resource Center below:
https://csrc.nist.gov/glossary/term/ics
[3] | 40 CFR §§ 142.16(b)(3) and 142.16(o)(2). Required elements are (1) source, (2) treatment, (3) distribution system, (4) finished water storage, (5) pumps, pump facilities, and controls, (6) monitoring, reporting, and data verification, (7) system management and operation, and (8) operator compliance with state requirements.
[4] | Includes tribes, territories, and EPA where they have primacy
[5] | CISA Cyber Resilience Review
https://www.cisa.gov/uscert/resources/assessments
[6] | NIST Cybersecurity Framework
https://www.nist.gov/cyberframework
[7] | AWWA, Cybersecurity Assessment Tool and Guidance
https://www.awwa.org/Resources-Tools/Resource-Topics/Risk-Resilience/Cybersecurity-Guidance
[8] | ISO, 27001 Information Security Management
https://www.iso.org/isoiec-27001-information-security.html
[9] | ISOA/IEC, 62443 series of standards
https://www.isa.org/standards-and-publications/isa-standards/isa-iec-62443-series-of-standards
Version History
Version 1.0 - 2/16/2023: Workbook created
Version 2.0 - 8/1/2023: Workbook edited to accomodate Water/Wastewater Systems

## Assessment Workbook
EPA Cybersecurity Checklist
Utility ID:
W/WS Staff (Initials Only):
Assessment Date:
Assessor:
Topic | Topic Number | Checklist Number | Question | Response | Recommendation | Explanation of Response
Account Security | 1 | 1.1 | Does the W/WS detect and block repeated unsuccessful login attempts? |  | Where technically feasible, System Administrators should be notified after a specific number of consecutive, unsuccessful login attempts in a short amount of time. At that point, future login attempts by the suspicious account should be blocked for a specified time or until re-enabled by an Administrator.
|  | 1.2 | Does the W/WS change default passwords? |  | When feasible, change all default manufacturer or vendor passwords before equipment or software is put into service.
|  | 1.3 | Does the W/WS require multi-factor authentication (MFA) wherever possible, but at a minimum to remotely access W/WS Operational Technology (OT) networks? |  | Deploy MFA as widely as possible for both information technology (IT) and operational technology (OT) networks. At a minimum, MFA should be deployed for remote access to the OT network.
|  | 1.4 | Does the W/WS require a minimum length for passwords? |  | Where feasible, implement a minimum length requirement for passwords. Implementation can be through a policy or administrative controls set in the system.
|  | 1.5 | Does the W/WS separate user and privileged (e.g., System Administrator) accounts? |  | Restrict System Administrator privileges to separate user accounts for administrative actions only and evaluate administrative privileges on a recurring basis to be sure they are still needed by the individuals who have these privileges.
|  | 1.6 | Does the W/WS require unique and separate credentials for users to access OT and IT networks? |  | Require a single user to have two different usernames and passwords; one set is to be used to access the IT network, and the other set is to be used to access the OT network. This reduces the risk of an attacker being able to move between both networks using a single login.
|  | 1.7 | Does the W/WS immediately disable access to an account or network when access is no longer required due to retirement, change of role, termination, or other factors? |  | Take all steps necessary to terminate access to accounts or networks upon a change in an individual’s status making access unnecessary.
Device Security | 2 | 2.1 | Does the W/WS require approval before new software is installed or deployed? |  | Only allow Administrators to install new software on a W/WS-issued asset.
|  | 2.2 | Does the W/WS disable Microsoft Office macros, or similar embedded code, by default on all assets? |  | Disable embedded macros and similar executable code by default on all assets.
|  | 2.3 | Does the W/WS maintain an updated inventory of all OT and IT network assets? |  | Regularly review (no less than monthly) and maintain a list of all OT and IT assets with an IP address. This includes third-party and legacy (i.e., older) equipment.
|  | 2.4 | Does the W/WS prohibit the connection of unauthorized hardware (e.g., USB devices, removable media, laptops brought in by others) to OT and IT assets? |  | When feasible, remove, disable, or otherwise secure physical ports (e.g., USB ports on a laptop) to prevent unauthorized assets from connecting.
|  | 2.5 | Does the W/WS maintain current documentation detailing the set-up and settings (i.e., configuration) of critical OT and IT assets? |  | Maintain accurate documentation of the original and current configuration of OT and IT assets, including software and firmware version.
Data Security | 3 | 3.1 | Does the W/WS collect security logs (e.g., system and network access, malware detection) to use in both incident detection and investigation? |  | Collect and store logs and/or network traffic data to aid in detecting cyberattacks and investigating suspicious activity.
|  | 3.2 | Does the W/WS protect security logs from unauthorized access and tampering? |  | Store security logs in a central system or database that can only be accessed by authorized and authenticated users.
|  | 3.3 | Does the W/WS use effective encryption to maintain the confidentiality of data in transit? |  | When sending information and data, use Transport Layer Security (TLS) or Secure Socket Layer (SSL) encryption standards.
|  | 3.4 | Does the W/WS use encryption to maintain the confidentiality of stored sensitive data? |  | Do not store sensitive data, including credentials (i.e., usernames and passwords) in plain text.
Governance and Training | 4 | 4.1 | Does the W/WS have a named role/position/title that is responsible and accountable for planning, resourcing, and execution of cybersecurity activities within the W/WS? |  | Identify one role/position/title responsible for cybersecurity within the W/WS. Whoever fills this role/position/title is then in charge of all W/WS cybersecurity activities.
|  | 4.2 | Does the W/WS have a named role/position/title that is responsible and accountable for planning, resourcing, and execution of OT-specific cybersecurity activities? |  | Identify one W/WS role/position/title responsible for ensuring planning, resourcing, and execution of OT-specific cybersecurity activities.
|  | 4.3 | Does the W/WS provide at least annual training for all W/WS personnel that covers basic cybersecurity concepts? |  | Conduct annual basic cybersecurity training for all W/WS personnel.
|  | 4.4 | Does the W/WS offer OT-specific cybersecurity training on at least an annual basis to personnel who use OT as part of their regular duties? |  | Provide specialized OT-focused cybersecurity training to all personnel who use OT assets.
|  | 4.5 | Does the W/WS offer regular opportunities to strengthen communication and coordination between OT and IT personnel, including vendors? |  | Facilitate meetings between OT and IT personnel to provide opportunities for all parties to better understand organizational security needs and to strengthen working relationships.
Vulnerability Management | 5 | 5.1 | Does the W/WS patch or otherwise mitigate known vulnerabilities within the recommended timeframe? |  | Identify and patch vulnerabilities in a risk-informed manner (e.g., critical assets first) as quickly as possible.
|  | 5.2 | N/A
|  | 5.3 | N/A
|  | 5.4 | Does the W/WS ensure that assets connected to the public Internet expose no unnecessary exploitable services (e.g., remote desktop protocol)? |  | Eliminate unnecessary exposed ports and services on public-facing assets and regularly review.
|  | 5.5 | Does the W/WS eliminate connections between its OT assets and the Internet? |  | Eliminate OT asset connections to the public Internet unless explicitly required for operations.
|  | 5.6 | N/A
Supply Chain / Third Party | 6 | 6.1 | Does the W/WS include cybersecurity as an evaluation criterion for the procurement of OT and IT assets and services? |  | Include cybersecurity as an evaluation criterion when procuring assets and services.
|  | 6.2 / 6.3 | Does the W/WS require that all OT and IT vendors and service providers notify the W/WS of any security incidents or vulnerabilities in a risk-informed timeframe? |  | Require vendors and service providers to notify the W/WS of potential security incidents and vulnerabilities within a stipulated timeframe described in procurement documents and contracts.
Response and Recovery | 7 | 7.1 | Does the W/WS have a written procedure for reporting cybersecurity incidents, including how (e.g., phone call, Internet submission) and to whom (e.g., FBI or other law enforcement, CISA, state regulators, WaterISAC, cyber insurance provider)? |  | Document the procedure for reporting cybersecurity incidents promptly to better aid law enforcement, receive assistance with response and recovery, and to promote water sector awareness of cybersecurity threats. Under the Cyber Incident Reporting for Critical Infrastructure Act of 2022, CISA will establish procedures that may apply to public water systems. This recommendation will be revised as necessary when those procedures are issued.
|  | 7.2 | Does the W/WS have written cybersecurity incident response (IR) plan for critical threat scenarios (e.g., disabled or manipulated process control systems, the loss or theft of operational or financial data, exposure of sensitive information), which is regularly practiced and updated? |  | Develop, practice, and update an IR plan for cybersecurity incidents that could impact W/WS operations. Participate in tabletop exercises to improve responses to any potential cyber incidents.
|  | 7.3 | Does the W/WS backup systems necessary for operations (e.g., network configurations, PLC logic, engineering drawings, personnel records) on a regular schedule, store backups separately from the source systems, and test backups on a regular basis? |  | Maintain, store securely and separately, and test backups of critical W/WS OT and IT systems.
|  | 7.4 | Does the W/WS maintain updated documentation describing network topology (i.e., connections between all network components) across W/WS OT and IT networks? |  | Maintain complete and accurate documentation of all W/WS OT and IT network topologies to facilitate incident response and recovery.
Other | 8 | 8.1 | Does the W/WS segment OT and IT networks and deny connections to the OT network by default unless explicitly allowed (e.g., by IP address and port)? |  | Require connections between the OT and IT networks to pass through an intermediary, such as a firewall, bastion host, jump box, or demilitarized zone, which is monitored and logged.
|  | 8.2 | Does the W/WS keep a list of threats and adversary tactics, techniques, and procedures (TTPs) for cyberattacks relevant to the W/WS and have the capability to detect instances of key threats? |  | Receive CISA alerts and maintain documentation of TTPs relevant to the W/WS.
|  | 8.3 | Does the W/WS use email security controls to reduce common email-based threats, such as spoofing, phishing, and interception? |  | Ensure that email security controls are enabled on all corporate email infrastructure.

## Assessment Report
Cybersecurity Assessment Report
| Utility ID: | [W/WS Name]
| Assessment Date: | [Assessment Date]
| Print Date: | 2023-10-03
Contents
Account Security Device Security Data Security Governance and Training Vulnerability Management Supply Chain / Third Party Response and Recovery Other
Purpose
This Cybersecurity Assessment Report provides a summary of results for [W/WS Name] from the completed assessment using the EPA Cybersecurity Checklist (the Checklist). The table below includes all questions, responses, and explanation of responses from the Checklist including 'Yes', 'No', and 'In Progress' responses. Water/Wastewater System (W/WS) representatives can use this Assessment Report as a record of the assessment and their responses.
Account Security
Checklist Number | Question | Response | Explanation of Response
1.1 | Does the W/WS detect and block repeated unsuccessful login attempts?
1.2 | Does the W/WS change default passwords?
1.3 | Does the W/WS require multi-factor authentication (MFA) wherever possible, but at a minimum to remotely access W/WS Operational Technology (OT) networks?
1.4 | Does the W/WS require a minimum length for passwords?
1.5 | Does the W/WS separate user and privileged (e.g., System Administrator) accounts?
1.6 | Does the W/WS require unique and separate credentials for users to access OT and IT networks?
1.7 | Does the W/WS immediately disable access to an account or network when access is no longer required due to retirement, change of role, termination, or other factors?
Device Security
Checklist Number | Question | Response | Explanation of Response
2.1 | Does the W/WS require approval before new software is installed or deployed?
2.2 | Does the W/WS disable Microsoft Office macros, or similar embedded code, by default on all assets?
2.3 | Does the W/WS maintain an updated inventory of all OT and IT network assets?
2.4 | Does the W/WS prohibit the connection of unauthorized hardware (e.g., USB devices, removable media, laptops brought in by others) to OT and IT assets?
2.5 | Does the W/WS maintain current documentation detailing the set-up and settings (i.e., configuration) of critical OT and IT assets?
Data Security
Checklist Number | Question | Response | Explanation of Response
3.1 | Does the W/WS collect security logs (e.g., system and network access, malware detection) to use in both incident detection and investigation?
3.2 | Does the W/WS protect security logs from unauthorized access and tampering?
3.3 | Does the W/WS use effective encryption to maintain the confidentiality of data in transit?
3.4 | Does the W/WS use encryption to maintain the confidentiality of stored sensitive data?
Governance and Training
Checklist Number | Question | Response | Explanation of Response
4.1 | Does the W/WS have a named role/position/title that is responsible and accountable for planning, resourcing, and execution of cybersecurity activities within the W/WS?
4.2 | Does the W/WS have a named role/position/title that is responsible and accountable for planning, resourcing, and execution of OT-specific cybersecurity activities?
4.3 | Does the W/WS provide at least annual training for all W/WS personnel that covers basic cybersecurity concepts?
4.4 | Does the W/WS offer OT-specific cybersecurity training on at least an annual basis to personnel who use OT as part of their regular duties?
4.5 | Does the W/WS offer regular opportunities to strengthen communication and coordination between OT and IT personnel, including vendors?
Vulnerability Management
Checklist Number | Question | Response | Explanation of Response
5.1 | Does the W/WS patch or otherwise mitigate known vulnerabilities within the recommended timeframe?
5.4 | Does the W/WS ensure that assets connected to the public Internet expose no unnecessary exploitable services (e.g., remote desktop protocol)?
5.5 | Does the W/WS eliminate connections between its OT assets and the Internet?
Supply Chain / Third Party
Checklist Number | Question | Response | Explanation of Response
6.1 | Does the W/WS include cybersecurity as an evaluation criterion for the procurement of OT and IT assets and services?
6.2 / 6.3 | Does the W/WS require that all OT and IT vendors and service providers notify the W/WS of any security incidents or vulnerabilities in a risk-informed timeframe?
Response and Recovery
Checklist Number | Question | Response | Explanation of Response
7.1 | Does the W/WS have a written procedure for reporting cybersecurity incidents, including how (e.g., phone call, Internet submission) and to whom (e.g., FBI or other law enforcement, CISA, state regulators, WaterISAC, cyber insurance provider)?
7.2 | Does the W/WS have written cybersecurity incident response (IR) plan for critical threat scenarios (e.g., disabled or manipulated process control systems, the loss or theft of operational or financial data, exposure of sensitive information), which is regularly practiced and updated?
7.3 | Does the W/WS backup systems necessary for operations (e.g., network configurations, PLC logic, engineering drawings, personnel records) on a regular schedule, store backups separately from the source systems, and test backups on a regular basis?
7.4 | Does the W/WS maintain updated documentation describing network topology (i.e., connections between all network components) across W/WS OT and IT networks?
Other
Checklist Number | Question | Response | Explanation of Response
8.1 | Does the W/WS segment OT and IT networks and deny connections to the OT network by default unless explicitly allowed (e.g., by IP address and port)?
8.2 | Does the W/WS keep a list of threats and adversary tactics, techniques, and procedures (TTPs) for cyberattacks relevant to the W/WS and have the capability to detect instances of key threats?
8.3 | Does the W/WS use email security controls to reduce common email-based threats, such as spoofing, phishing, and interception?

## Risk Mitigation Plan
Cybersecurity Risk Mitigation Plan
|  |  | Utility ID: | [W/WS Name]
|  |  | Assessment Date: | [Assessment Date]
|  |  | Print Date: | 2023-10-03
Plan Preparation/Last Modified Date:
Contents
Account Security Device Security Data Security Governance and Training Vulnerability Management Supply Chain / Third Party Response and Recovery Other
Purpose
This Cybersecurity Risk Mitigation Plan documents actions [W/WS Name] is taking or intends to take to address cybersecurity risks. The actions in this plan are responsive to the cybersecurity risk assessment conducted using the EPA Cybersecurity Checklist (the Checklist). The table below includes all questions from the Checklist where [W/WS Name] representatives responded either 'No' or 'In Progress' during the assessment.
Cybersecurity Risk Mitigation Plan Actions
For each question in this table, Water/Wastewater System (W/WS) representatives should describe the “Current Status,” “Target Completion Date,” “W/WS Personnel Responsible,” “Involved Departments and/or Agencies”, and “W/WS Notes”. Notice that the “W/WS Notes” column has been automatically filled out with the information gathered during the initial assessment. In the “Current Status” cell, W/WS representatives can describe progress, such as listing “Not Started,” “In Progress,” or “Completed.” The W/WS can provide more detail on the current status (e.g., any explanatory notes, resources) by updating the “W/WS Notes” field as appropriate. This Plan is intended to be a living document that the W/WS regularly updates to reflect progress with implementing the risk mitigation actions. For more information on how to implement the planned risk mitigation actions, review the factsheet that corresponds to each Checklist question in the Guidance document at the link below:
https://www.epa.gov/system/files/documents/2023-03/230228_Cyber%20SS%20Guidance_508c.pdf
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
W/WS Personnel Responsible:
Involved Departments and/or Agencies:
W/WS Notes:

## _DataTable (hidden)
PivotTable Source
Topic | Topic Number | Checklist Number | Question | Response | Recommendation | Yes | No | In Progress | Index | W/WS Notes
Filter Functionality_Yes | 0 | 0.1 | Filter Functionality_Yes | Yes | Filter Functionality_Yes | 1 | 0 | 0 | 1 | Filter Functionality_Yes
Filter Functionality_No | 0 | 0.2 | Filter Functionality_No | No | Filter Functionality_No | 0 | 1 | 0 | 2 | Filter Functionality_No
Filter Functionality_In Progress | 0 | 0.3 | Filter Functionality_In Progress | In Progress | Filter Functionality_In Progress | 0 | 0 | 1 | 3 | Filter Functionality_In Progress
Account Security | 1 | 1.1 | Does the W/WS detect and block repeated unsuccessful login attempts? | 0 | Where technically feasible, System Administrators should be notified after a specific number of consecutive, unsuccessful login attempts in a short amount of time. At that point, future login attempts by the suspicious account should be blocked for a specified time or until re-enabled by an Administrator. | 0 | 0 | 0 | 4 | No W/WS Notes for 1.1
Account Security | 1 | 1.2 | Does the W/WS change default passwords? | 0 | When feasible, change all default manufacturer or vendor passwords before equipment or software is put into service. | 0 | 0 | 0 | 5 | No W/WS Notes for 1.2
Account Security | 1 | 1.3 | Does the W/WS require multi-factor authentication (MFA) wherever possible, but at a minimum to remotely access W/WS Operational Technology (OT) networks? | 0 | Deploy MFA as widely as possible for both information technology (IT) and operational technology (OT) networks. At a minimum, MFA should be deployed for remote access to the OT network. | 0 | 0 | 0 | 6 | No W/WS Notes for 1.3
Account Security | 1 | 1.4 | Does the W/WS require a minimum length for passwords? | 0 | Where feasible, implement a minimum length requirement for passwords. Implementation can be through a policy or administrative controls set in the system. | 0 | 0 | 0 | 7 | No W/WS Notes for 1.4
Account Security | 1 | 1.5 | Does the W/WS separate user and privileged (e.g., System Administrator) accounts? | 0 | Restrict System Administrator privileges to separate user accounts for administrative actions only and evaluate administrative privileges on a recurring basis to be sure they are still needed by the individuals who have these privileges. | 0 | 0 | 0 | 8 | No W/WS Notes for 1.5
Account Security | 1 | 1.6 | Does the W/WS require unique and separate credentials for users to access OT and IT networks? | 0 | Require a single user to have two different usernames and passwords; one set is to be used to access the IT network, and the other set is to be used to access the OT network. This reduces the risk of an attacker being able to move between both networks using a single login. | 0 | 0 | 0 | 9 | No W/WS Notes for 1.6
Account Security | 1 | 1.7 | Does the W/WS immediately disable access to an account or network when access is no longer required due to retirement, change of role, termination, or other factors? | 0 | Take all steps necessary to terminate access to accounts or networks upon a change in an individual’s status making access unnecessary. | 0 | 0 | 0 | 10 | No W/WS Notes for 1.7
Device Security | 2 | 2.1 | Does the W/WS require approval before new software is installed or deployed? | 0 | Only allow Administrators to install new software on a W/WS-issued asset. | 0 | 0 | 0 | 11 | No W/WS Notes for 2.1
Device Security | 2 | 2.2 | Does the W/WS disable Microsoft Office macros, or similar embedded code, by default on all assets? | 0 | Disable embedded macros and similar executable code by default on all assets. | 0 | 0 | 0 | 12 | No W/WS Notes for 2.2
Device Security | 2 | 2.3 | Does the W/WS maintain an updated inventory of all OT and IT network assets? | 0 | Regularly review (no less than monthly) and maintain a list of all OT and IT assets with an IP address. This includes third-party and legacy (i.e., older) equipment. | 0 | 0 | 0 | 13 | No W/WS Notes for 2.3
Device Security | 2 | 2.4 | Does the W/WS prohibit the connection of unauthorized hardware (e.g., USB devices, removable media, laptops brought in by others) to OT and IT assets? | 0 | When feasible, remove, disable, or otherwise secure physical ports (e.g., USB ports on a laptop) to prevent unauthorized assets from connecting. | 0 | 0 | 0 | 14 | No W/WS Notes for 2.4
Device Security | 2 | 2.5 | Does the W/WS maintain current documentation detailing the set-up and settings (i.e., configuration) of critical OT and IT assets? | 0 | Maintain accurate documentation of the original and current configuration of OT and IT assets, including software and firmware version. | 0 | 0 | 0 | 15 | No W/WS Notes for 2.5
Data Security | 3 | 3.1 | Does the W/WS collect security logs (e.g., system and network access, malware detection) to use in both incident detection and investigation? | 0 | Collect and store logs and/or network traffic data to aid in detecting cyberattacks and investigating suspicious activity. | 0 | 0 | 0 | 16 | No W/WS Notes for 3.1
Data Security | 3 | 3.2 | Does the W/WS protect security logs from unauthorized access and tampering? | 0 | Store security logs in a central system or database that can only be accessed by authorized and authenticated users. | 0 | 0 | 0 | 17 | No W/WS Notes for 3.2
Data Security | 3 | 3.3 | Does the W/WS use effective encryption to maintain the confidentiality of data in transit? | 0 | When sending information and data, use Transport Layer Security (TLS) or Secure Socket Layer (SSL) encryption standards. | 0 | 0 | 0 | 18 | No W/WS Notes for 3.3
Data Security | 3 | 3.4 | Does the W/WS use encryption to maintain the confidentiality of stored sensitive data? | 0 | Do not store sensitive data, including credentials (i.e., usernames and passwords) in plain text. | 0 | 0 | 0 | 19 | No W/WS Notes for 3.4
Governance and Training | 4 | 4.1 | Does the W/WS have a named role/position/title that is responsible and accountable for planning, resourcing, and execution of cybersecurity activities within the W/WS? | 0 | Identify one role/position/title responsible for cybersecurity within the W/WS. Whoever fills this role/position/title is then in charge of all W/WS cybersecurity activities. | 0 | 0 | 0 | 20 | No W/WS Notes for 4.1
Governance and Training | 4 | 4.2 | Does the W/WS have a named role/position/title that is responsible and accountable for planning, resourcing, and execution of OT-specific cybersecurity activities? | 0 | Identify one W/WS role/position/title responsible for ensuring planning, resourcing, and execution of OT-specific cybersecurity activities. | 0 | 0 | 0 | 21 | No W/WS Notes for 4.2
Governance and Training | 4 | 4.3 | Does the W/WS provide at least annual training for all W/WS personnel that covers basic cybersecurity concepts? | 0 | Conduct annual basic cybersecurity training for all W/WS personnel. | 0 | 0 | 0 | 22 | No W/WS Notes for 4.3
Governance and Training | 4 | 4.4 | Does the W/WS offer OT-specific cybersecurity training on at least an annual basis to personnel who use OT as part of their regular duties? | 0 | Provide specialized OT-focused cybersecurity training to all personnel who use OT assets. | 0 | 0 | 0 | 23 | No W/WS Notes for 4.4
Governance and Training | 4 | 4.5 | Does the W/WS offer regular opportunities to strengthen communication and coordination between OT and IT personnel, including vendors? | 0 | Facilitate meetings between OT and IT personnel to provide opportunities for all parties to better understand organizational security needs and to strengthen working relationships. | 0 | 0 | 0 | 24 | No W/WS Notes for 4.5
Vulnerability Management | 5 | 5.1 | Does the W/WS patch or otherwise mitigate known vulnerabilities within the recommended timeframe? | 0 | Identify and patch vulnerabilities in a risk-informed manner (e.g., critical assets first) as quickly as possible. | 0 | 0 | 0 | 25 | No W/WS Notes for 5.1
Vulnerability Management | 5 | 5.4 | Does the W/WS ensure that assets connected to the public Internet expose no unnecessary exploitable services (e.g., remote desktop protocol)? | 0 | Eliminate unnecessary exposed ports and services on public-facing assets and regularly review. | 0 | 0 | 0 | 26 | No W/WS Notes for 5.4
Vulnerability Management | 5 | 5.5 | Does the W/WS eliminate connections between its OT assets and the Internet? | 0 | Eliminate OT asset connections to the public Internet unless explicitly required for operations. | 0 | 0 | 0 | 27 | No W/WS Notes for 5.5
Supply Chain / Third Party | 6 | 6.1 | Does the W/WS include cybersecurity as an evaluation criterion for the procurement of OT and IT assets and services? | 0 | Include cybersecurity as an evaluation criterion when procuring assets and services. | 0 | 0 | 0 | 28 | No W/WS Notes for 6.1
Supply Chain / Third Party | 6 | 6.2 / 6.3 | Does the W/WS require that all OT and IT vendors and service providers notify the W/WS of any security incidents or vulnerabilities in a risk-informed timeframe? | 0 | Require vendors and service providers to notify the W/WS of potential security incidents and vulnerabilities within a stipulated timeframe described in procurement documents and contracts. | 0 | 0 | 0 | 29 | No W/WS Notes for 6.2 / 6.3
Response and Recovery | 7 | 7.1 | Does the W/WS have a written procedure for reporting cybersecurity incidents, including how (e.g., phone call, Internet submission) and to whom (e.g., FBI or other law enforcement, CISA, state regulators, WaterISAC, cyber insurance provider)? | 0 | Document the procedure for reporting cybersecurity incidents promptly to better aid law enforcement, receive assistance with response and recovery, and to promote water sector awareness of cybersecurity threats. Under the Cyber Incident Reporting for Critical Infrastructure Act of 2022, CISA will establish procedures that may apply to public water systems. This recommendation will be revised as necessary when those procedures are issued. | 0 | 0 | 0 | 30 | No W/WS Notes for 7.1
Response and Recovery | 7 | 7.2 | Does the W/WS have written cybersecurity incident response (IR) plan for critical threat scenarios (e.g., disabled or manipulated process control systems, the loss or theft of operational or financial data, exposure of sensitive information), which is regularly practiced and updated? | 0 | Develop, practice, and update an IR plan for cybersecurity incidents that could impact W/WS operations. Participate in tabletop exercises to improve responses to any potential cyber incidents. | 0 | 0 | 0 | 31 | No W/WS Notes for 7.2
Response and Recovery | 7 | 7.3 | Does the W/WS backup systems necessary for operations (e.g., network configurations, PLC logic, engineering drawings, personnel records) on a regular schedule, store backups separately from the source systems, and test backups on a regular basis? | 0 | Maintain, store securely and separately, and test backups of critical W/WS OT and IT systems. | 0 | 0 | 0 | 32 | No W/WS Notes for 7.3
Response and Recovery | 7 | 7.4 | Does the W/WS maintain updated documentation describing network topology (i.e., connections between all network components) across W/WS OT and IT networks? | 0 | Maintain complete and accurate documentation of all W/WS OT and IT network topologies to facilitate incident response and recovery. | 0 | 0 | 0 | 33 | No W/WS Notes for 7.4
Other | 8 | 8.1 | Does the W/WS segment OT and IT networks and deny connections to the OT network by default unless explicitly allowed (e.g., by IP address and port)? | 0 | Require connections between the OT and IT networks to pass through an intermediary, such as a firewall, bastion host, jump box, or demilitarized zone, which is monitored and logged. | 0 | 0 | 0 | 34 | No W/WS Notes for 8.1
Other | 8 | 8.2 | Does the W/WS keep a list of threats and adversary tactics, techniques, and procedures (TTPs) for cyberattacks relevant to the W/WS and have the capability to detect instances of key threats? | 0 | Receive CISA alerts and maintain documentation of TTPs relevant to the W/WS. | 0 | 0 | 0 | 35 | No W/WS Notes for 8.2
Other | 8 | 8.3 | Does the W/WS use email security controls to reduce common email-based threats, such as spoofing, phishing, and interception? | 0 | Ensure that email security controls are enabled on all corporate email infrastructure. | 0 | 0 | 0 | 36 | No W/WS Notes for 8.3

## _ChecklistNumbers (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
0.2 | 2
0.3 | 3

## _Question (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
Filter Functionality_No | 2
Filter Functionality_In Progress | 3

## _Recommendation (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
Filter Functionality_No | 2
Filter Functionality_In Progress | 3

## _WWSNotes (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
Filter Functionality_No | 2
Filter Functionality_In Progress | 3