## Slide 1
Incident Commander
Public Information Officer
Operations Section Chief
Safety Officer
Water Quality Group
Laboratory Group
Field Operations Group
Technical Specialists
Plant Operations Group
Distribution System Operations Group
Administrative Officer
Figure 2.1: Small-scale ICS Structure

## Slide 2
Incident Commander
Stakeholders Group (Mayor, Commissioners)
Public Information Officer
Safety Officer
Unified Command
Liaison Officer
Operations Section Chief
Planning Section Chief
Logistics Section Chief
Finance and Administration Section Chief
Water Quality Group
Laboratory Group
Field Operations Group
Technical Specialists Unit
Service Branch
Support Branch
Situation Unit
Resources Unit
Procurement Unit
Cost Unit
Security Group
Customer Support Group
Documentation Unit
Time Tracking Unit
Compensation Claims Unit
Demobilization Unit
Plant Operations Group
Distribution System Operations Group
Response Partners
Figure 2.2: Large-scale ICS Structure

## Slide 3
Investigation and Response Actions
Validated Indicator of Water
Contamination
Investigation and Response Phase
Remediation and Recovery Phase
Risk Communication / Public Notification
Section 7.0
Operational Responses
Section 6.0
Remediation and Recovery Activities
Site Characterization, Sampling, and Analysis
Section 5.0
Characterization
Decontamination
Evaluate Response Actions
Operational Responses
Section 6.0
Risk Communication / Public Notification
Section 7.0
Initiate Investigation and
Response Phase
Section 4.0
Initiate Remediation and Recovery Phase
Section 8.0
Contamination is
Suspected
Contamination is Confirmed
Clearance
Gather and Review Available Information
Section 4.0
Contamination is
Ruled Out
Contamination is
Ruled Out
Evaluate Initial Findings
LEGEND
Start of Process
Action Performed
Decision Step
Outcome
Figure 3.1: Response Procedure Overview

## Slide 4
Go to Remediation and Recovery Phase
Initiate Incident Investigation
Step 2: Gather / review available information and evaluate any findings
LEGEND
Start of Process
Action Performed
Decision Step
End of Process
Close out incident investigation
Step 5: Plan investigation and response activities
Step 7: Report results and outcomes
Step 1: Notify designated utility personnel
Step 4: Notify response partners and request assistance
Contamination is Suspected
Contamination is Confirmed
Information Assessment and Planning
Information Collection and Response
Step 5c: Risk communication / public notification
Step 5a: Site characterization, sampling, and laboratory analysis
Step 5b: Operational responses
Step 6: Implement investigation and response plans
Contamination is Ruled Out
Step 3: Perform confidence / impact evaluation
Figure 4.1: Investigate and Response Phase Decision Tree

## Slide 5
Site characterization personnel deploy to site
Exit site
YES
LEGEND
Start of Process
Action Performed
Decision Step
End of Process
Step 1: Perform visual site hazard assessment
Step 1a: Was a hazard discovered?
Step 2: Perform site safety screening, if required
NO
Step 2a: Was a hazard discovered?
YES
NO
Step 3: Sample collection
Step 4: Water quality parameter testing
Step 5: Rapid field testing
Step 5a: Was a hazard discovered?
Step 6a: Do samples contain hazardous materials?
Step 6: Notify emergency response partner to complete activities or to clear hazard.
Report findings and request authorization/instructions for next steps
Step 7a: Package and ship samples
Step 7b: Package and ship samples as hazardous materials
YES
NO
NO
YES
Figure 5.1: Site Characterization and Sampling Process

## Slide 6
Contamination Incident
Step 5b: Are alternate operational response impacts acceptable?
Step 4a: Develop alternate operational responses
NO
Step 1a: Is the contamination source or extent known?
Implement operational responses
Step 6a: Do not implement operational responses
YES
Step 6b: Develop operational response plan
Step 2: Forecast the spread of contamination
Step 3a: Is isolation of the contamination area feasible?
Step 3b: Are isolation impacts acceptable?
NO
YES
YES
Step 7: Coordinate notification of impacted customers
NO
LEGEND
Start of Process
Action Performed
Decision Step
End of Process
Step 1b: Continue to investigate for contamination
YES
Step 8: Coordinate alternate water source for impacted customers, if necessary
Step 5a: Are alternate operational responses feasible?
NO
YES
Step 4b: Consider if additional operational response measures are appropriate
NO
Figure 6.1: Operational Response Planning Decision Tree

## Slide 7
Contamination Incident
Step 2a: Populate message templates and prepare for public notification
Step 1: Develop an incident-specific risk communication strategy
Investigation and Response Phase
LEGEND
Start of Process
Action Performed
Step 3: Consult with primacy and public health agencies
Step 6a: Issue/revise public notification for confirmed contamination
Remediation and Recovery Phase
Step 4a: Issue public notification if required or appropriate
Step 7: Review/revise risk communication strategy for confirmed contamination
Step 8a: Issue public notification for all remediation milestones
Step 8b: Disseminate contamination and remediation info through public outreach
Step 9: Issue final public notification of return to service
Step 4b: Notify customers impacted by operational responses
Step 6b: Notify customers impacted by operational responses
Step 5:Review/revise risk communication strategy
Step 2b: Begin public outreach and monitor media outlets, if appropriate
Figure 7.1: Risk Communication Overview

## Slide 8
LEGEND
Start of Process
Action Performed
Decision Step
End of Process
Step 2: Has the primacy agency been contacted?
Step 4: Have operational changes been authorized?
Contamination Incident
Step 5: Do operational changes impact the public or customers?
Step 3: Does primacy agency require public notification?
Step 2a: Contact the primacy agency about public notification requirements
Issue public notification
Do not issue public notification
Step 1: Is there an immediate threat to public health?
YES
NO
YES
YES
YES
NO
NO
NO
NO
YES
Step 6: Are there dermal or inhalation exposure risks?
Step 7: Is boiling effective and safe?
Issue “Do Not Use” order
Issue “Do Not Drink” order
Issue “Boil Water” order
NO
NO
YES
YES
Figure 7.2: Public Notification Decision Tree

## Slide 9
Continuously update response partners, stakeholders, and the public
Confirmed contamination incident
LEGEND
Start of Process
Action Performed
Decision Step
End of Process
Step 1: Determine contaminant characteristics
Step 3: Perform risk assessment and determine clearance goals
Step 4: Characterize the extent of contamination
Step 6: Assess and select water treatment / disposal methods
Step 7: Develop and implement water treatment / disposal strategy
Step 8: Develop and implement infrastructure decontamination strategy
Step 2: Notify response partners and request assistance
Step 10: Evaluate clearance results
Step 11a: Have clearance goals been met?
Step 11b: Are clearance goals still appropriate?
Complete after-action report and close incident
Step 9: Develop and implement clearance strategy
Step 12: Return to normal operations and service to the public
YES
NO
YES
Step 13: Conduct post-remediation monitoring
Step 5: Plan and implement additional response activities
Step 5b: Risk communication / public notification
Step 5a: Operational responses
NO
Step 5c: Provide long-term alternate water source
Figure 8.1: Remediation and Recovery Phase Decision Tree