# Recommended ANNUAL O&M/REMEDY EVALUATION CHECKLIST FOR CONTAMINATED SEDIMENT REMEDIES

### Introduction and Purpose Effective operation and maintenance (O&M) at Superfund sites generally is critical to ensure that remedies remain protective of human health and the environment. This Recommended Annual O&M/Remedy Evaluation Checklist for Contaminated Sediment Remedies has been designed to help Regions capture data routinely collected during O&M in a way that assists the Remedial Project Manager (RPM) in evaluating the efficiency and effectiveness of the remedial action. This recommended checklist may also be useful when evaluating a contaminated sediment remedy before transferring the site to the State for O&M. In addition, remedy performance summarized using this checklist can be used for other purposes, such as communicating remedy progress to the local community, highlighting potential issues before they become problems, and assisting the RPM in completing the five-year review evaluation more efficiently. The recommended checklist was developed specifically to address contaminated sediment remedies. It is recommended that any information and data that you use to complete this evaluation be attached to the checklist, as this should make completing the next year’s evaluation easier. - Instructions: - The recommended checklist can be downloaded in Microsoft Word, and filled out electronically. You may answer most questions with a short narrative statement, with a yes/no response, or by simply checking the box. Questions that involve a narrative answer will have an expandable text box. For responses that ask you to “select one,” please click on “select one” and choose the correct answer. To enter text, the user should click to get a cursor in the box and begin typing. If information is not available or not required for the site, indicate N/A. A site visit is strongly encouraged, but not required prior to completing the checklist. 1. Generally, RPMs should carry out an O&M remedy evaluation yearly; the information generated by the recommended checklist can be stored and maintained in an electronic format. 2. For large, complex contaminated sediment sites, RPMs should consider completing a separate checklist for each Operable Unit (OU). 3. Typically, this evaluation should be based on information already documented for the site. If appropriate, attach or cite the data that have been used to complete this evaluation (i.e., O&M reports, monitoring data, etc.), especially when they are readily available to the RPM. 4. Each section of the checklist has specific instructions for completing that part of the checklist. For example, Section VIII, “Technical Data and Remedy Performance” provides instructions regarding what data and information should be evaluated and the specific technology that should be used for that remedial action (RA). 5. When finished, please sign and date the first page. The completed form should be placed in the site file and saved electronically for use in completing future evaluations.

| ### Acronym List |  |  |  |
| --- | --- | --- | --- |
| ### CSM | ### Conceptual Site Model | ### OSHA | ### Occupational Safety and Health Administration |
| ### CUL | ### Cleanup Levels | ### OU | ### Operable Unit |
| ### ICs | ### Institutional Controls | ### PCOR | ### Preliminary Close Out Report |
| ### MNA | ### Monitored Natural Attenuation | ### RAO | ### Remedial Action Objective |
| ### MNR | ### Monitored Natural Recovery | ### ROD | ### Record of Decision |
| ### NPL | ### National Priorities List | ### RPM | ### Remedial Project Manager |
| ### O&F | ### Operational and Functional | ### RSE | ### Remediation System Evaluation |
| ### O&M | ### Operation and Maintenance | ### RG | ### Remediation Goal |

| # RECOMMENDED ANNUAL O&M/REMEDY EVALUATION CHECKLIST FOR CONTAMINATED SEDIMENT REMEDIES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Please save electronically and send this completed checklist and any attachments to the site file and site repository. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## I. SIGNATURES AND APPROVALS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RPM |  |  |  | Federal Facilities RPM (if appropriate) |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  | Name: |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone: |  |  |  | Telephone: |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  | Date: |  | Signature: |  |  |  |  |  |  |  |  |  |  |  | Date: |
| State Contact (If appropriate) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |
| ## II. GENERAL SITE INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. General Site Information Complete the following information pertaining to the overall site. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| State: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Period Covered: |  |  | to |  |  |  |  |  |  |  |  | EPA Site ID: |  |  |  |  |
| Site Lead: |  |  | Other, specify: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Organization responsible for O&M operations: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Number of OUs: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sediment Remedy Components: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PCOR date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| O&F date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Last Five-year review date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NPL deletion date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Sediment Remedy Information Complete the following information pertaining to the sediment remedy (or portion thereof) being addressed by this form. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is this one of multiple OUs or remedy components for the site? |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No |  |
| If yes, are you are also completing the overarching O&M checklist form for the site? If no, please explain. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No N/A |  |
| Is this one of multiple sediment OUs or one of multiple sediment areas being addressed by the remedy? |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No |  |
| If yes, are you are completing multiple copies of the sediment remedy O&M checklist for the site this year? If no, please explain. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No N/A |  |
| If you are completing multiple copies of the sediment remedy O&M checklist for the site this year, please identify the sediment remedy OU or area being addressed by this form: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Did you make a site visit during this review? |  |  |  |  | Yes | No |  |  |  | Date: |  |  |  |  |  |  |
| Date of last review: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of Administrative Record/Site Files: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What type of monitoring is taking place at the site? Check all that apply. |  |  |  |  | Chemical Toxicity Benthic Diversity |  |  |  | Bathymetry Sediment Transport Other, Please Specify: |  |  |  |  |  |  |  |
| During the site visit, was monitoring equipment associated with this sediment remedy operational? |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No N/A |  |  |
| Please elaborate: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe the chronology of events since the last annual evaluation report (e.g. site visits, receipt of reports, equipment failures, shutdowns, vandalism, storm events, etc.) that have impacted or may impact this sediment remedy: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Elaborate on significant events or site visits: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## III. DOCUMENTS AND RECORDS ## Because these documents may be needed for the five-year review, verify what documents are currently available on-site, or note off-site location. Identify only those documents associated with the sediment remedy or part of the sediment remedy being addressed by this form. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document |  |  |  |  | Required |  | Not required |  |  |  | On-site |  |  | Off-site (indicate where) |  |  |
| O&M Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| O&M Maintenance Logs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| O&M Annual Reports |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RA as-built drawings modified during O&M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site-Specific Health and Safety Plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contingency/Emergency Response Plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| O&M/OSHA Training Records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Surface Water/Sediment/Biota Monitoring Records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cap Inspection Records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| On-site Combined Disposal Facility/Landfill Compliance Records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Institutional Controls Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Previous Five-Year Review Report |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other(s) (Please name each) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| ## IV. ADMINISTRATIVE ISSUES Identify only those administrative issues associated with the sediment remedy or part of the sediment remedy being addressed by this form. |  |  |  |
| --- | --- | --- | --- |
| Check all that apply: |  | Date Initiated: |  |
|  | Explanation of Significant Differences for OU involving sediment in progress |  |  |
|  | ROD Amendment for OU involving sediment in progress |  |  |
|  | Site (and sediment remedy component) in operational and functional (O&F) period |  |  |
|  | Notice of Intent to Delete site in progress |  |  |
|  | Partial site deletion (of portion of the site involving sediment) in progress |  |  |
|  | Surface water/sediment reuse assessment or reuse plan in progress |  |  |
|  | Revised surface water/sediment-related risk assessment in progress Ecological OR Human Health |  |  |
|  | Other administrative issues: |  |  |
| ## VI. O&M COSTS ## The purpose of this section is to document what is known about O&M costs for this sediment remedy. |  |  |  |
| What was the total annual O&M cost for the previous year? |  |  |  |
| Please provide the breakout of costs below. |  |  | Use either $ or % |
| Analytical (e.g., lab costs): |  |  |  |
| Materials (e.g., cap materials): |  |  |  |
| Oversight (e.g., project management): |  |  |  |
| Monitoring (e.g. sediment sampling): |  |  |  |
| Utilities (e.g., electric, gas, phone, water): |  |  |  |
| Institutional Controls (implementation and maintenance): |  |  |  |
| Other (e.g., capital improvements, equipment repairs): |  |  |  |
| What is the expected total annual O&M cost for the upcoming year? |  |  |  |

| Describe any unanticipated/unusually high or low O&M costs and potential future O&M funding issues. |  |  |
| --- | --- | --- |
| ## VII. INSTITUTIONAL CONTROLS (ICs) |  |  |
| Identify each institutional control (media, objective, instrument) implemented/to be implemented at the site. Attach an extra sheet if necessary. |  |  |
| Are the institutional controls adequate for site protection? If no, please explain further (and include in the recommendations section). |  | Yes No |
| Please identify the party responsible for compliance and enforcement of the IC. |  |  |
| Please describe what the ICs are intended to accomplish, who they were designed to inform, the source document for the IC, and where the IC information is located. |  |  |
| Please identify the date when the ICs were implemented. If the institutional controls have yet to be implemented, please identify the scheduled implementation date. |  |  |
| If the ICs have been implemented, are they still in place? |  | Yes No |
| If the ICs remain in place, please identify whether there is a planned termination date and, if so, what it is. |  |  |
| Are the institutional controls being properly implemented and enforced? If no, please explain. |  | Yes No |
| ## VIII. TECHNICAL DATA AND REMEDY PERFORMANCE |  |  |
| The purpose of this section is to document remedy performance to date, summarize data used to evaluate remedy performance, and identify events in the upcoming year that may affect remedy effectiveness/performance. The following abbreviated set of questions addresses O&M of sediment remedies, including in-situ sediment capping, dredging, enhanced MNR, MNR and combination remedies. Refer to the following document, as needed, when completing this form: - Contaminated Sediment Remediation Guidance for Hazardous Waste Sites (http://www.epa.gov/superfund/health/conmedia/sediment/guidance.htm) - This Guidance encourages the development and use of several measures to monitor short-term and long-term remedy performance, short-term risk reduction, and long-term risk reduction. A fully successful remedy is defined as one where chemical or biological cleanup levels have been met and maintained over time, and where all relevant risks have been reduced to acceptable levels. |  |  |
| A. Remedy, Goals, and Conceptual Site Model (CSM) |  |  |
| 1. Summary of remedy components |  |  |
| Dredging | Excavation |  |
| Engineered Cap | Thin-layer Cap |  |
| Enhanced MNR | MNR |  |
| Waterbody Use ICs | Fish Consumption Advisories |  |
| Wetland Restoration | Other – please specify |  |

| 2. Review the Current Remedy Goals |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| What are the RAOs, cleanup levels (CULs), or remediation goals (RGs) for sediment, water, and/or biota, for each COC? |  |  |  |  |  |  |  |  |
| What is the time frame to achieve the RAOs and CULs? |  |  |  |  |  |  |  |  |
| Is there a reason to change the RAOs or CULs? Note: this might be due to unrealistic RAOs or CULs or RAOs or CULs that were based on inaccurate models – e.g., even though sediment CULs have been achieved, fish tissue CULs or benthic toxicity have not been appropriately reduced. If yes, please explain. |  |  |  |  |  |  |  | Yes No |
| 3. Review of Changes to the CSM |  |  |  |  |  |  |  |  |
| Have new contaminant sources been identified? If yes, please describe the new sources and how they are being addressed: |  |  |  |  |  |  |  | Yes No |
| Have changes in land use or water body use that could impact the CSM occurred since the ROD? Please explain. |  |  |  |  |  |  |  | Yes No |
| Should the CSM be modified to reflect changes in exposure pathways, other sources, new fate and transport information, new hydrology, erosion or deposition data, etc.? Please explain. |  |  |  |  |  |  |  | Yes No |
| If a computer model was used to help select the remedy and/or CULs, have monitoring data been used to validate it? Please explain. |  |  |  |  |  |  |  | Yes No |
| B. Remedy Performance Assessment This section contains a series of questions that can be used to help assess a sediment remedy’s effectiveness and evaluate the collection and analysis of performance monitoring data. |  |  |  |  |  |  |  |  |
| - Monitoring Program The following questions can be used to assess the effectiveness of the remedy performance monitoring program and apply to monitoring of sediment, surface water, and biota, monitoring of in-situ cap integrity, and monitoring of natural recovery processes. |  |  |  |  |  |  |  |  |
| Is the monitoring program accomplishing the objectives outlined in the ROD or in a subsequent enforceable document? If no, identify the objectives that are not being met. |  |  |  |  |  |  |  | Yes No |
| Do field parameter data indicate trends/patterns that are consistent with CSM used as the basis for the sediment remedy? |  |  |  |  |  |  |  | Yes No |
| Have there been changes in field conditions (e.g., change in flow/deposition rates or patterns) that suggest that the monitoring program should be reevaluated? |  |  |  |  |  |  |  | Yes No |
| Are the baseline data and post-remedy data adequate to perform statistical comparisons to post-remedy data? If no, please explain how remedy effectiveness will be evaluated. |  |  |  |  |  |  |  | Yes No |
| What techniques and/or models are being used to evaluate the adequacy/redundancy of the monitoring network (i.e., sediment, surface water, and biota sampling locations) and the adequacy/redundancy associated with sampling frequency? |  |  |  |  |  |  |  |  |
| How do the sampling and analytical methods, monitoring parameters, and test methods – including methods associated with monitoring sediment and surface water quality, toxicity and bioassessment studies, and monitoring cap integrity – reflect a cost-effective approach to meet monitoring performance objectives? |  |  |  |  |  |  |  |  |
| Does the monitoring program need to be modified in order to make scientifically defensible decisions on reduction in risk? Please explain. |  |  |  |  |  |  |  | Yes No |
| Describe changes to the monitoring program that have been made since the last time you completed the O&M checklist for this remedy or that are planned to address each of the following conditions: |  |  |  |  |  |  |  |  |
| Reason for Change |  |  | Description of Change |  |  |  | Changes Made | Changes Planned |
| One or more monitoring performance objectives not being met |  |  |  |  |  |  |  |  |
| Cost-effectiveness of monitoring program |  |  |  |  |  |  |  |  |
| Do you have adequate documentation (e.g., good quality O&M reports) to effectively manage and interpret monitoring data? If no, please explain. |  |  |  |  |  |  |  | Yes No |
| 2. Evaluating Remedy Performance |  |  |  |  |  |  |  |  |
| Have both interim and final goals been established as a means for evaluating remedy performance? Please explain. |  |  |  |  | Yes, final goals only Yes, interim and final goals Goals have not been established for this purpose |  |  |  |
| What timeframe(s) has (have) been established to reach the remediation interim and final goal(s)? |  |  |  |  |  |  |  |  |
| Is the sediment remedy performing as expected relative to the remediation interim and final goal(s)? |  |  |  |  |  |  |  | Yes No |
| Have the appropriate CULs been achieved and maintained? Check all that apply: Sediment CULs Fish CULs Surface Water CULs Please explain. |  |  |  |  |  |  |  | Yes No |
| Is the rate of change in risk measures large enough to determine remedy is likely to be effective in the timeframe allotted; i.e., RAOs and CULs will be achieved? Please explain. |  |  |  |  |  |  |  | Yes No |
| For capping components, do the data demonstrate that the level of cap erosion and/or contaminant flux, if any, have not and will not compromise the integrity of the cap or the protectiveness of the remedy? Please explain. |  |  |  |  |  |  |  | Yes No |
| For MNR areas, do the data demonstrate that deposition or other processes are occurring at the rates that will achieve RAOs in the time frame allotted? Please explain. |  |  |  |  |  |  |  | Yes No |
| 3. Maintenance (In-situ Capping) |  |  |  |  |  |  |  |  |
| If some cap erosion has been observed, was it enough to warrant cap repair? If no, how was this decision made? |  |  |  |  |  |  |  | Yes No |
| Have any major repairs to the in-situ cap(s) been required since the last time you completed the O&M checklist for this remedy? |  |  |  |  |  |  |  | Yes No |
| If yes, - What major repairs were required? - How did the need for repairs affect progress toward meeting remediation milestones and goals? - What actions have been taken to minimize repairs in the future? - What effects were caused by the cap breach? |  |  |  |  |  |  |  |  |
| C. Remedial Decisions: Indicate which of the following remedial decisions are appropriate at the present time and provide a basis for each decision: |  |  |  |  |  |  |  |  |
|  | No Change to the Remedy is Needed (Remedy is Performing as Designed) |  |  |  |  |  |  |  |
|  | No Decision Can be Made due to Inadequate Data |  |  |  |  |  |  |  |
|  | Modify/Optimize Remedy |  |  |  |  |  |  |  |
|  | Contingency/Alternative Remedy (i.e., Change Remedy) |  |  |  |  |  |  |  |
|  | Modify/Optimize Operation and Maintenance Program |  |  |  |  |  |  |  |
|  | Modify Institutional Controls |  |  |  |  |  |  |  |
|  | Terminate Some or All Monitoring Requirements |  |  |  |  |  |  |  |
| Basis for decision: |  |  |  |  |  |  |  |  |
| ## IX. RECOMMENDATIONS Recommendations associated with the sediment remedy or part of the sediment remedy being addressed by this form. |  |  |  |  |  |  |  |  |
| Recommendations, based on this annual review: |  |  |  |  |  |  |  |  |
| Recommendation |  | Party Responsible |  | Milestone Date |  | Affects Protectiveness (Y/N) |  |  |