DLNB + H2O + NH3 | Dry Low NOx Burners + Water Injection + Ammonia Injection
DLNB + H2O + STM | Dry Low NOx Burners + Water Injection + Steam Injection
DLNB + LNB + NH3 | Dry Low NOx Burners + Low NOx Burner Technology + Ammonia Injection
DLNB + LNB + NH3 + STM | Dry Low NOx Burners + Low NOx Burner Technology + Ammonia Injection + Steam Injection
DLNB + NH3 | Dry Low NOx Burners + Ammonia Injection
DLNB + NH3 + STM | Dry Low NOx Burners + Ammonia Injection + Steam Injection
DLNB + STM | Dry Low NOx Burners + Steam Injection
FR | Flue Gas Recirculation
FR + LA | Flue Gas Recirculation + Low excess air
FR + LA + LNB | Flue Gas Recirculation + Low excess air + Low NOx Burner Technology
FR + LNB | Flue Gas Recirculation + Low NOx Burner Technology
FR + LNB + LNBO + OFA | Flue Gas Recirculation + Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air + Overfire Air
FR + LNB + OFA | Flue Gas Recirculation + Low NOx Burner Technology + Overfire Air
FR + LNBO + OFA | Flue Gas Recirculation + Low NOx Burner Technology w/ Overfire Air + Overfire Air
FR + NH3 | Flue Gas Recirculation + Ammonia Injection
FR + NH3 + OFA | Flue Gas Recirculation + Ammonia Injection + Overfire Air
FR + OFA | Flue Gas Recirculation + Overfire Air
FR + STM | Flue Gas Recirculation + Steam Injection
FU + LA | Fuel Reburning + Low excess air
H2O | Water Injection
H2O + NH3 | Water Injection + Ammonia Injection
H2O + NH3 + AA | Water Injection + Ammonia Injection + Advanced Overfire Air
H2O + OFA | Water Injection + Overfire Air
H2O + STM | Water Injection + Steam Injection
LA | Low excess air
LA + LNB | Low excess air + Low NOx Burner Technology
LA + LNB + NH3 | Low excess air + Low NOx Burner Technology + Ammonia Injection
LA + LNB + NH3 + OFA | Low excess air + Low NOx Burner Technology + Ammonia Injection + Overfire Air
LA + LNB + OFA | Low excess air + Low NOx Burner Technology + Overfire Air
LA + NH3 | Low excess air + Ammonia Injection
LA + OFA | Low excess air + Overfire Air
LA + OFA + other | Low excess air + Overfire Air + other
LNB | Low NOx Burner Technology
LNB + LNBO | Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air
LNB + LNBO + OFA | Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air + Overfire Air
LNB + LNCB | Low NOx Burner Technology + Low NOx Cell Burner
LNB + LNCB + OFA | Low NOx Burner Technology + Low NOx Cell Burner + Overfire Air
LNB + NH3 | Low NOx Burner Technology + Ammonia Injection
LNB + NH3 + OFA | Low NOx Burner Technology + Ammonia Injection + Overfire Air
LNB + OFA | Low NOx Burner Technology + Overfire Air
LNB + OFA + NH3 + other | Low NOx Burner Technology + Overfire Air + Ammonia Injection + other
LNB + other | Low NOx Burner Technology + other
LNB + STM | Low NOx Burner Technology + Steam Injection
LNBO | Low NOx Burner Technology w/ Overfire Air
LNBO + OFA | Low NOx Burner Technology w/ Overfire Air + Overfire Air
LNBO + other | Low NOx Burner Technology w/ Overfire Air + other
LNC1 | Low NOx Burner Technology w/ Closed-coupled OFA
LNC2 | Low NOx Burner Technology w/ Separated OFA
LNC2 + H2O | Low NOx Burner Technology w/ Separated OFA + Water Injection
LNC2 + LNC1 | Low NOx Burner Technology w/ Separated OFA + Low NOx Burner Technology w/ Closed-coupled OFA
LNC2 + NH3 | Low NOx Burner Technology w/ Separated OFA + Ammonia Injection
LNC2 + NH3 + OFA | Low NOx Burner Technology w/ Separated OFA + Ammonia Injection + Overfire Air
LNC2 + OFA | Low NOx Burner Technology w/ Separated OFA + Overfire Air
LNC2 + other | Low NOx Burner Technology w/ Separated OFA + other
LNC3 | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
LNC3 + NH3 | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + Ammonia Injection
LNC3 + OFA | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + Overfire Air
LNC3 + other | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + other
LNCB | Low NOx Cell Burner
LNCB + OFA | Low NOx Cell Burner + Overfire Air
NDI | Nitrogen Diluent Injection
NH3 | Ammonia Injection
NH3 + OFA | Ammonia Injection + Overfire Air
NH3 + other | Ammonia Injection + other
NH3 + STM | Ammonia Injection + Steam Injection
OFA | Overfire Air
OFA + LNC1 | Overfire Air + Low NOx Burner Technology w/ Closed-coupled OFA
OFA + LNC2 | Overfire Air + Low NOx Burner Technology w/ Separated OFA
OFA + other | Overfire Air + other
other | Other
ROFA | Rotating Opposed Fired Air
STC | Staged Combustion
STM | Steam Injection