Regeneron Pharmaceuticals Inc. | 62423 | 777NG | Combustion Turbine | New York | 0.4 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 778NG | Combustion Turbine | New York | 0.2 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 785G1 | Combustion Turbine | New York | 1 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 795G1 | Combustion Turbine | New York | 2 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 795G2 | Combustion Turbine | New York | 2 | Dropped - Onsite Unit
Iola Powerhouse & Cogeneration Facility | 62424 | 1 | Combustion Turbine | New York | 1.4 | Dropped - Retired/Planned Retirement by 06/2023
Iola Powerhouse & Cogeneration Facility | 62424 | 2 | Combustion Turbine | New York | 1.4 | Dropped - Retired/Planned Retirement by 06/2023
Iola Powerhouse & Cogeneration Facility | 62424 | 3 | Combustion Turbine | New York | 1.4 | Dropped - Retired/Planned Retirement by 06/2023
Sardis Lake Hydroelectric Project | 62425 | NA1 | Hydro | Mississippi | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Sardis Lake Hydroelectric Project | 62425 | NA2 | Hydro | Mississippi | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Rokeby L&D Hydroelectric Project | 62426 | NA1 | Hydro | Ohio | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Rokeby L&D Hydroelectric Project | 62426 | NA2 | Hydro | Ohio | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Philo L&D Hydroelectric Project | 62427 | NA1 | Hydro | Ohio | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
Philo L&D Hydroelectric Project | 62427 | NA2 | Hydro | Ohio | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
Malta L&D Hydroelectric Project | 62428 | NA1 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Malta L&D Hydroelectric Project | 62428 | NA2 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Lowell L&D Hydroelectric Project | 62429 | NA1 | Hydro | Ohio | 2 | Dropped - Units whose status does not meet NEEDS criteria
Lowell L&D Hydroelectric Project | 62429 | NA2 | Hydro | Ohio | 2 | Dropped - Units whose status does not meet NEEDS criteria
Grenada Lake Hydroelectric Project | 62430 | NA1 | Hydro | Mississippi | 4 | Dropped - Units whose status does not meet NEEDS criteria
Grenada Lake Hydroelectric Project | 62430 | NA2 | Hydro | Mississippi | 4 | Dropped - Units whose status does not meet NEEDS criteria
Enid Lake Hydroelectric Project | 62432 | NA1 | Hydro | Mississippi | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Enid Lake Hydroelectric Project | 62432 | NA2 | Hydro | Mississippi | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth L&D Hydroelectric Project | 62433 | NA1 | Hydro | Pennsylvania | 5 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth L&D Hydroelectric Project | 62433 | NA2 | Hydro | Pennsylvania | 6.5 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth BC Hydroelectric Project | 62434 | NA1 | Hydro | Pennsylvania | 3 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth BC Hydroelectric Project | 62434 | NA2 | Hydro | Pennsylvania | 4 | Dropped - Units whose status does not meet NEEDS criteria
Devola L&D Hydroelectric Project | 62435 | NA1 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Devola L&D Hydroelectric Project | 62435 | NA2 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Dodge County Wind | 62437 | WT | Onshore Wind | Minnesota | 170 | Dropped - Units whose status does not meet NEEDS criteria
South Nassau Communities Hospital | 62447 | 1 | Combustion Turbine | New York | 1.1 | Dropped - Retired/Planned Retirement by 06/2023
South Nassau Communities Hospital | 62447 | 2 | Combustion Turbine | New York | 0.8 | Dropped - Retired/Planned Retirement by 06/2023
South Nassau Communities Hospital | 62447 | 3 | Combustion Turbine | New York | 1 | Dropped - Retired/Planned Retirement by 06/2023
Skeleton Creek Energy Center Hybrid | 62494 | SCSOL | Solar PV | Oklahoma | 250 | Dropped - Units whose status does not meet NEEDS criteria
Old Jackson Solar LLC | 62501 | 1 | Solar PV | Texas | 127.5 | Dropped - Units whose status does not meet NEEDS criteria
Hybrid Holdings 1 Capistrano | 62515 | HH4MW | Energy Storage | California | 4 | Dropped - Units whose status does not meet NEEDS criteria
Solemio LLC | 62522 | 1 | Solar PV | Texas | 79.8 | Dropped - Units whose status does not meet NEEDS criteria
Hale Kuawehi Solar Hybrid | 62529 | HKBA | Energy Storage | Hawaii | 30 | Dropped - Units whose status does not meet NEEDS criteria
Hale Kuawehi Solar Hybrid | 62529 | HKSOL | Solar PV | Hawaii | 30 | Dropped - Units whose status does not meet NEEDS criteria
Paeahu Solar Hybrid | 62534 | PHBA | Energy Storage | Hawaii | 15 | Dropped - Units whose status does not meet NEEDS criteria
Paeahu Solar Hybrid | 62534 | PHSOL | Solar PV | Hawaii | 15 | Dropped - Units whose status does not meet NEEDS criteria
SJRR Power LLC | 62548 | SJ-3 | Combustion Turbine | Texas | 43 | Dropped - Units whose status does not meet NEEDS criteria
SJRR Power LLC | 62548 | SJ-4 | Combustion Turbine | Texas | 43 | Dropped - Units whose status does not meet NEEDS criteria
Bradley Farm (Dudley) | 62593 | PV1 | Solar PV | North Carolina | 5 | Dropped - Units whose status does not meet NEEDS criteria
Martha's Vineyard Community Battery | 62605 | MVESS | Energy Storage | Massachusetts | 4.9 | Dropped - Retired/Planned Retirement by 06/2023
Palestine Power Peaking Facility | 62684 | PP-1 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Palestine Power Peaking Facility | 62684 | PP-2 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Palestine Power Peaking Facility | 62684 | PP-3 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Palestine Power Peaking Facility | 62684 | PP-4 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-1 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-2 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-3 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-4 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Eyak Service Center BESS | 62714 | BESS1 | Energy Storage | Alaska | 1 | Dropped - in Alaska or in Hawaii or Puerto Rico
Victorville Energy Center, LLC (CA) | 62726 | 1 | Non-Fossil Waste | California | 19.9 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 1 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 2 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 3 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 4 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 5 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 1 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 2 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 3 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 4 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 5 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Piney Creek Solar | 62768 | PCSOL | Solar PV | Virginia | 80 | Dropped - Units whose status does not meet NEEDS criteria
Pinckard Solar | 62787 | PCKND | Solar PV | Alabama | 79.7 | Dropped - Units whose status does not meet NEEDS criteria
Arbor Hill II | 62796 | 1 | Onshore Wind | Iowa | 60 | Dropped - Units whose status does not meet NEEDS criteria
Bluebird Solar LLC | 62797 | BBIRD | Solar PV | Kentucky | 80 | Dropped - Units whose status does not meet NEEDS criteria
Grizzly Wind LLC | 62802 | GW | Onshore Wind | Montana | 80 | Dropped - Units whose status does not meet NEEDS criteria
Buenos Aires Phase 1 | 62803 | BAW1 | Onshore Wind | Texas | 200 | Dropped - Retired/Planned Retirement by 06/2023
Black Bear Wind (MT) | 62808 | BBW | Onshore Wind | Montana | 80 | Dropped - Units whose status does not meet NEEDS criteria
Bakerstand Solar (NY) | 62811 | BKSTD | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
SunEast Skyline Solar Project | 62816 | Q670 | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
SunEast Clay Solar Project | 62819 | Q669 | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
HIMA San Pablo Bayamon | 62841 | BAY1 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Bayamon | 62841 | BAY2 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Bayamon | 62841 | BAY3 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
Water Valley Wind Energy | 62846 | WWE1 | Onshore Wind | Texas | 150 | Dropped - Units whose status does not meet NEEDS criteria
HIMA San Pablo Fajardo | 62850 | FAJ1 | Combustion Turbine | Puerto Rico | 1.3 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Fajardo | 62850 | FAJ2 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Fajardo | 62850 | FAJ3 | Combustion Turbine | Puerto Rico | 0.2 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Cupey | 62851 | CUP1 | Combustion Turbine | Puerto Rico | 0.6 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Cupey | 62851 | CUP2 | Combustion Turbine | Puerto Rico | 0.6 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Humacao | 62852 | HUM1 | Combustion Turbine | Puerto Rico | 0.8 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Humacao | 62852 | HUM2 | Combustion Turbine | Puerto Rico | 0.8 | Dropped - in Alaska or in Hawaii or Puerto Rico
Don Lee BESS 1 LLC | 62872 | DONL1 | Energy Storage | California | 6.5 | Dropped - Retired/Planned Retirement by 06/2023
High Bridge Wind Project | 62894 | WT | Onshore Wind | New York | 100 | Dropped - Units whose status does not meet NEEDS criteria
Midland Wind | 63003 | 1 | Onshore Wind | Illinois | 101.1 | Dropped - Units whose status does not meet NEEDS criteria
Novel Holmquist Solar CSG | 63006 | HOLM | Solar PV | Minnesota | 1 | Dropped - Units whose status does not meet NEEDS criteria
Shakespeare Solar | 63014 | PGR12 | Solar PV | North Carolina | 5 | Dropped - Units whose status does not meet NEEDS criteria
Tip Top Solar Energy Center LLC | 63028 | GEN1 | Solar PV | New Mexico | 220 | Dropped - Units whose status does not meet NEEDS criteria
Rooney Ranch | 63088 | ROONR | Onshore Wind | California | 21 | Dropped - Units whose status does not meet NEEDS criteria
Vineyard Wind 1 | 63093 | VW01 | Offshore Wind | Massachusetts | 800 | Dropped - Units whose status does not meet NEEDS criteria
John Paul Jones | 63095 | JPJDX | Combustion Turbine | Texas | 18.7 | Dropped - Units whose status does not meet NEEDS criteria
Southern Bighorn Solar Hybrid | 63113 | SBS | Solar PV | Nevada | 300 | Dropped - Units whose status does not meet NEEDS criteria
Sand Hill A | 63126 | SNDHA | Onshore Wind | California | 13.5 | Dropped - Units whose status does not meet NEEDS criteria
Cabin Point Solar Center | 63134 | CBNPT | Solar PV | Virginia | 75 | Dropped - Units whose status does not meet NEEDS criteria
Alira | 63193 | UNIT1 | Solar PV | Texas | 222.8 | Dropped - Units whose status does not meet NEEDS criteria
Aero Haven Solar | 63195 | ACP3 | Solar PV | New Jersey | 5 | Dropped - Units whose status does not meet NEEDS criteria
AC Power 2 | 63196 | ACP2 | Solar PV | New Jersey | 3.8 | Dropped - Units whose status does not meet NEEDS criteria
Pettinos Solar | 63197 | ACP4 | Solar PV | New Jersey | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
USS Zanzibar Solar LLC CSG | 63217 | ZNZBR | Solar PV | Minnesota | 1 | Dropped - Units whose status does not meet NEEDS criteria
Obsidian Solar Center | 63488 | OBSLR | Solar PV | Oregon | 400 | Dropped - Units whose status does not meet NEEDS criteria
CED Peoria Solar | 63656 | PS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
Norwalk Hospital Plant | 63673 | EU-02 | Combustion Turbine | Connecticut | 1.3 | Dropped - Units whose status does not meet NEEDS criteria
RE Bravepost LLC | 63730 | BVPST | Solar PV | Texas | 200 | Dropped - Units whose status does not meet NEEDS criteria
Goleta Grid Resiliency | 63736 | BESS1 | Energy Storage | California | 10 | Dropped - Units whose status does not meet NEEDS criteria
West River Solar, LLC | 63806 | PGR28 | Solar PV | North Carolina | 40 | Dropped - Units whose status does not meet NEEDS criteria
CED Beecher Sun Solar | 63823 | BS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
CED Hilltop Solar | 63824 | HS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
TX18 Cottage Meadow Storage | 63879 | TX18 | Energy Storage | Texas | 100 | Dropped - Units whose status does not meet NEEDS criteria
CED Spring Creek Solar | 63948 | CS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
Caden Energix New Kent, LLC | 64036 | ENX08 | Solar PV | Virginia | 20 | Dropped - Units whose status does not meet NEEDS criteria
Great Bear Solar, LLC | 64073 | GBS | Solar PV | Ohio | 46 | Dropped - Units whose status does not meet NEEDS criteria
Highway 9 Solar | 64206 | 2004 | Solar PV | South Carolina | 2 | Dropped - Units whose status does not meet NEEDS criteria
Red Antelope Solar & Energy Storage Farm | 64208 | 30PNA | Solar PV | Arizona | 500 | Dropped - Units whose status does not meet NEEDS criteria
Bellefield 2 Solar & Energy Storage Farm | 64209 | 26SBA | Solar PV | California | 500 | Dropped - Units whose status does not meet NEEDS criteria
Bellefield Solar and Energy Storage Farm | 64210 | 50LWA | Solar PV | California | 500 | Dropped - Units whose status does not meet NEEDS criteria
Aratina Solar Center 2 | 64215 | 45MGA | Solar PV | California | 200 | Dropped - Units whose status does not meet NEEDS criteria
Rockmont Solar and Storage Project | 64216 | 201LC | Solar PV | New Mexico | 100 | Dropped - Units whose status does not meet NEEDS criteria