Fairfield Solar | 62212 | 36 | Solar PV | South Carolina | 10 | Dropped - Retired/Planned Retirement by 06/2023
Flip Solar | 62214 | 38 | Solar PV | South Carolina | 15.8 | Dropped - Units whose status does not meet NEEDS criteria
Indigo Solar | 62230 | 44 | Solar PV | South Carolina | 2 | Dropped - Units whose status does not meet NEEDS criteria
Ion Solar | 62231 | 45 | Solar PV | South Carolina | 5 | Dropped - Units whose status does not meet NEEDS criteria
Madison Solar | 62237 | 51 | Solar PV | South Carolina | 10.9 | Dropped - Units whose status does not meet NEEDS criteria
Arrow Canyon Solar Hybrid | 62248 | 1 | Solar PV | Nevada | 200 | Dropped - Units whose status does not meet NEEDS criteria
Alabama Ledge Wind Farm LLC | 62261 | GEN1 | Onshore Wind | New York | 79.8 | Dropped - Units whose status does not meet NEEDS criteria
Rolling Upland Wind Farm LLC | 62262 | GEN1 | Onshore Wind | New York | 60 | Dropped - Units whose status does not meet NEEDS criteria
Saddle Mountain East Wind Farm | 62263 | GEN1 | Onshore Wind | Washington | 126 | Dropped - Units whose status does not meet NEEDS criteria
NYPH-Queens | 62271 | PB809 | Combustion Turbine | New York | 0.9 | Dropped - Onsite Unit
NYPH-Queens | 62271 | PB909 | Combustion Turbine | New York | 0.9 | Dropped - Onsite Unit
NYPH-Queens | 62271 | PR601 | Combustion Turbine | New York | 0.9 | Dropped - Onsite Unit
NYPH-Queens | 62271 | PR602 | Combustion Turbine | New York | 0.9 | Dropped - Onsite Unit
NYPH-Queens | 62271 | PR816 | Combustion Turbine | New York | 0.9 | Dropped - Onsite Unit
Hecate Energy Columbia County Solar | 62273 | HECC1 | Solar PV | New York | 60 | Dropped - Units whose status does not meet NEEDS criteria
Pawcatuck Solar Center, LLC | 62318 | PAWCA | Solar PV | Connecticut | 15 | Dropped - Units whose status does not meet NEEDS criteria
Western Sugar Cooperative - Billings | 62319 | 1 | Coal Steam | Montana | 1.5 | Dropped - Onsite Unit
Turkey Hill Solar I | 62341 | 84 | Solar PV | South Carolina | 2 | Dropped - Units whose status does not meet NEEDS criteria
Webster Solar | 62348 | 91 | Solar PV | South Carolina | 5.4 | Dropped - Units whose status does not meet NEEDS criteria
NYP-Lower Manhattan Hospital | 62366 | CATR4 | Combustion Turbine | New York | 1.5 | Dropped - Onsite Unit
Spanish Peaks Solar | 62379 | 47301 | Solar PV | Colorado | 100 | Dropped - Units whose status does not meet NEEDS criteria
Point Marion L&D Hydroelectric Project | 62384 | NA1 | Hydro | Pennsylvania | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Point Marion L&D Hydroelectric Project | 62384 | NA2 | Hydro | Pennsylvania | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Maxwell L&D Hydroelectric Project | 62385 | NA1 | Hydro | Pennsylvania | 4.5 | Dropped - Units whose status does not meet NEEDS criteria
Maxwell L&D Hydroelectric Project | 62385 | NA2 | Hydro | Pennsylvania | 4.5 | Dropped - Units whose status does not meet NEEDS criteria
Opekiska L&D Hydroelectric Project | 62386 | NA1 | Hydro | West Virginia | 2 | Dropped - Units whose status does not meet NEEDS criteria
Opekiska L&D Hydroelectric Project | 62386 | NA2 | Hydro | West Virginia | 2 | Dropped - Units whose status does not meet NEEDS criteria
Morgantown L&D Hydroelectric Project | 62387 | NA1 | Hydro | West Virginia | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Morgantown L&D Hydroelectric Project | 62387 | NA2 | Hydro | West Virginia | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Grays Landing L&D Hydroelectric Project | 62388 | NA1 | Hydro | Pennsylvania | 4.5 | Dropped - Units whose status does not meet NEEDS criteria
Grays Landing L&D Hydroelectric Project | 62388 | NA2 | Hydro | Pennsylvania | 4.5 | Dropped - Units whose status does not meet NEEDS criteria
KY No. 11 L&D Hydroelectric Project | 62390 | NA1 | Hydro | Kentucky | 0.3 | Dropped - Units whose status does not meet NEEDS criteria
KY No. 11 L&D Hydroelectric Project | 62390 | NA2 | Hydro | Kentucky | 0.3 | Dropped - Units whose status does not meet NEEDS criteria
KY No. 11 L&D Hydroelectric Project | 62390 | NA3 | Hydro | Kentucky | 0.3 | Dropped - Units whose status does not meet NEEDS criteria
KY No. 11 L&D Hydroelectric Project | 62390 | NA4 | Hydro | Kentucky | 0.3 | Dropped - Units whose status does not meet NEEDS criteria
KY No. 11 L&D Hydroelectric Project | 62390 | NA5 | Hydro | Kentucky | 0.3 | Dropped - Units whose status does not meet NEEDS criteria
Overton Hydroelectric Project | 62391 | NA1 | Hydro | Louisiana | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Overton Hydroelectric Project | 62391 | NA2 | Hydro | Louisiana | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Overton Hydroelectric Project | 62391 | NA3 | Hydro | Louisiana | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Overton Hydroelectric Project | 62391 | NA4 | Hydro | Louisiana | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Overton Hydroelectric Project | 62391 | NA5 | Hydro | Louisiana | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Overton Hydroelectric Project | 62391 | NA6 | Hydro | Louisiana | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Albert Einstein College of Medicine | 62398 | CM058 | Combustion Turbine | New York | 0.2 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CM111 | Combustion Turbine | New York | 0.2 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CM454 | Combustion Turbine | New York | 0.5 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP035 | Combustion Turbine | New York | 1 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP643 | Combustion Turbine | New York | 0.2 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP703 | Combustion Turbine | New York | 0.5 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP810 | Combustion Turbine | New York | 0.7 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP919 | Combustion Turbine | New York | 0.1 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP922 | Combustion Turbine | New York | 0.5 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP925 | Combustion Turbine | New York | 0.9 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP961 | Combustion Turbine | New York | 1.8 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | CP962 | Combustion Turbine | New York | 1.8 | Dropped - Onsite Unit
Albert Einstein College of Medicine | 62398 | WK259 | Combustion Turbine | New York | 0.2 | Dropped - Onsite Unit
Montgomery L&D Hydroelectric Project | 62400 | NA1 | Hydro | Pennsylvania | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Montgomery L&D Hydroelectric Project | 62400 | NA2 | Hydro | Pennsylvania | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Montgomery L&D Hydroelectric Project | 62400 | NA3 | Hydro | Pennsylvania | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Montgomery L&D Hydroelectric Project | 62400 | NA4 | Hydro | Pennsylvania | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Allegheny L&D2 Hydroelectric Project | 62401 | NA1 | Hydro | Pennsylvania | 2.5 | Dropped - Units whose status does not meet NEEDS criteria
Allegheny L&D2 Hydroelectric Project | 62401 | NA2 | Hydro | Pennsylvania | 2.5 | Dropped - Units whose status does not meet NEEDS criteria
Arkabutla Lake Hydroelectric Project | 62402 | NA1 | Hydro | Mississippi | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Arkabutla Lake Hydroelectric Project | 62402 | NA2 | Hydro | Mississippi | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Beverly L&D Hydroelectric Project | 62403 | NA1 | Hydro | Ohio | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
Beverly L&D Hydroelectric Project | 62403 | NA2 | Hydro | Ohio | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
Monongahela L&D4 Hydroelectric Project | 62404 | NA1 | Hydro | Pennsylvania | 4.5 | Dropped - Units whose status does not meet NEEDS criteria
Monongahela L&D4 Hydroelectric Project | 62404 | NA2 | Hydro | Pennsylvania | 4.5 | Dropped - Units whose status does not meet NEEDS criteria
Cervecera de Puerto Rico | 62410 | GCC01 | Combustion Turbine | Puerto Rico | 0.3 | Dropped - in Alaska or in Hawaii or Puerto Rico
Cervecera de Puerto Rico | 62410 | GDC01 | Combustion Turbine | Puerto Rico | 1.6 | Dropped - in Alaska or in Hawaii or Puerto Rico
NYP-Hudson Valley Hospital Center | 62421 | 300DS | Combustion Turbine | New York | 0.3 | Dropped - Onsite Unit
NYP-Hudson Valley Hospital Center | 62421 | 600CP | Combustion Turbine | New York | 0.6 | Dropped - Onsite Unit
NYP-Hudson Valley Hospital Center | 62421 | 600OE | Combustion Turbine | New York | 0.6 | Dropped - Onsite Unit
NYP-Hudson Valley Hospital Center | 62421 | 750RX | Combustion Turbine | New York | 0.8 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 735G1 | Combustion Turbine | New York | 1.5 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 735G2 | Combustion Turbine | New York | 1 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 745G1 | Combustion Turbine | New York | 1.5 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 745G2 | Combustion Turbine | New York | 1.5 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 765G1 | Combustion Turbine | New York | 2.5 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 771NG | Combustion Turbine | New York | 0.8 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 777G1 | Combustion Turbine | New York | 1 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 777NG | Combustion Turbine | New York | 0.4 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 778NG | Combustion Turbine | New York | 0.2 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 785G1 | Combustion Turbine | New York | 1 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 795G1 | Combustion Turbine | New York | 2 | Dropped - Onsite Unit
Regeneron Pharmaceuticals Inc. | 62423 | 795G2 | Combustion Turbine | New York | 2 | Dropped - Onsite Unit
Iola Powerhouse & Cogeneration Facility | 62424 | 1 | Combustion Turbine | New York | 1.4 | Dropped - Retired/Planned Retirement by 06/2023
Iola Powerhouse & Cogeneration Facility | 62424 | 2 | Combustion Turbine | New York | 1.4 | Dropped - Retired/Planned Retirement by 06/2023
Iola Powerhouse & Cogeneration Facility | 62424 | 3 | Combustion Turbine | New York | 1.4 | Dropped - Retired/Planned Retirement by 06/2023
Sardis Lake Hydroelectric Project | 62425 | NA1 | Hydro | Mississippi | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Sardis Lake Hydroelectric Project | 62425 | NA2 | Hydro | Mississippi | 5.5 | Dropped - Units whose status does not meet NEEDS criteria
Rokeby L&D Hydroelectric Project | 62426 | NA1 | Hydro | Ohio | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Rokeby L&D Hydroelectric Project | 62426 | NA2 | Hydro | Ohio | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Philo L&D Hydroelectric Project | 62427 | NA1 | Hydro | Ohio | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
Philo L&D Hydroelectric Project | 62427 | NA2 | Hydro | Ohio | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
Malta L&D Hydroelectric Project | 62428 | NA1 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Malta L&D Hydroelectric Project | 62428 | NA2 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Lowell L&D Hydroelectric Project | 62429 | NA1 | Hydro | Ohio | 2 | Dropped - Units whose status does not meet NEEDS criteria
Lowell L&D Hydroelectric Project | 62429 | NA2 | Hydro | Ohio | 2 | Dropped - Units whose status does not meet NEEDS criteria
Grenada Lake Hydroelectric Project | 62430 | NA1 | Hydro | Mississippi | 4 | Dropped - Units whose status does not meet NEEDS criteria
Grenada Lake Hydroelectric Project | 62430 | NA2 | Hydro | Mississippi | 4 | Dropped - Units whose status does not meet NEEDS criteria
Enid Lake Hydroelectric Project | 62432 | NA1 | Hydro | Mississippi | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Enid Lake Hydroelectric Project | 62432 | NA2 | Hydro | Mississippi | 1.5 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth L&D Hydroelectric Project | 62433 | NA1 | Hydro | Pennsylvania | 5 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth L&D Hydroelectric Project | 62433 | NA2 | Hydro | Pennsylvania | 6.5 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth BC Hydroelectric Project | 62434 | NA1 | Hydro | Pennsylvania | 3 | Dropped - Units whose status does not meet NEEDS criteria
Emsworth BC Hydroelectric Project | 62434 | NA2 | Hydro | Pennsylvania | 4 | Dropped - Units whose status does not meet NEEDS criteria
Devola L&D Hydroelectric Project | 62435 | NA1 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Devola L&D Hydroelectric Project | 62435 | NA2 | Hydro | Ohio | 1 | Dropped - Units whose status does not meet NEEDS criteria
Dodge County Wind | 62437 | WT | Onshore Wind | Minnesota | 170 | Dropped - Units whose status does not meet NEEDS criteria
South Nassau Communities Hospital | 62447 | 1 | Combustion Turbine | New York | 1.1 | Dropped - Retired/Planned Retirement by 06/2023
South Nassau Communities Hospital | 62447 | 2 | Combustion Turbine | New York | 0.8 | Dropped - Retired/Planned Retirement by 06/2023
South Nassau Communities Hospital | 62447 | 3 | Combustion Turbine | New York | 1 | Dropped - Retired/Planned Retirement by 06/2023
Skeleton Creek Energy Center Hybrid | 62494 | SCSOL | Solar PV | Oklahoma | 250 | Dropped - Units whose status does not meet NEEDS criteria
Old Jackson Solar LLC | 62501 | 1 | Solar PV | Texas | 127.5 | Dropped - Units whose status does not meet NEEDS criteria
Hybrid Holdings 1 Capistrano | 62515 | HH4MW | Energy Storage | California | 4 | Dropped - Units whose status does not meet NEEDS criteria
Solemio LLC | 62522 | 1 | Solar PV | Texas | 79.8 | Dropped - Units whose status does not meet NEEDS criteria
Hale Kuawehi Solar Hybrid | 62529 | HKBA | Energy Storage | Hawaii | 30 | Dropped - Units whose status does not meet NEEDS criteria
Hale Kuawehi Solar Hybrid | 62529 | HKSOL | Solar PV | Hawaii | 30 | Dropped - Units whose status does not meet NEEDS criteria
Paeahu Solar Hybrid | 62534 | PHBA | Energy Storage | Hawaii | 15 | Dropped - Units whose status does not meet NEEDS criteria
Paeahu Solar Hybrid | 62534 | PHSOL | Solar PV | Hawaii | 15 | Dropped - Units whose status does not meet NEEDS criteria
SJRR Power LLC | 62548 | SJ-3 | Combustion Turbine | Texas | 43 | Dropped - Units whose status does not meet NEEDS criteria
SJRR Power LLC | 62548 | SJ-4 | Combustion Turbine | Texas | 43 | Dropped - Units whose status does not meet NEEDS criteria
Bradley Farm (Dudley) | 62593 | PV1 | Solar PV | North Carolina | 5 | Dropped - Units whose status does not meet NEEDS criteria
Martha's Vineyard Community Battery | 62605 | MVESS | Energy Storage | Massachusetts | 4.9 | Dropped - Retired/Planned Retirement by 06/2023
Palestine Power Peaking Facility | 62684 | PP-1 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Palestine Power Peaking Facility | 62684 | PP-2 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Palestine Power Peaking Facility | 62684 | PP-3 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Palestine Power Peaking Facility | 62684 | PP-4 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-1 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-2 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-3 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Sealy Power Peaking Facility | 62685 | SP-4 | Combustion Turbine | Texas | 50 | Dropped - Units whose status does not meet NEEDS criteria
Eyak Service Center BESS | 62714 | BESS1 | Energy Storage | Alaska | 1 | Dropped - in Alaska or in Hawaii or Puerto Rico
Victorville Energy Center, LLC (CA) | 62726 | 1 | Non-Fossil Waste | California | 19.9 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 1 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 2 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 3 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 4 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Evelyn Hydroelectric Project | 62748 | 5 | Hydro | Kentucky | 0.6 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 1 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 2 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 3 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 4 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Heidelberg Hydroelectric Project | 62749 | 5 | Hydro | Kentucky | 0.5 | Dropped - Units whose status does not meet NEEDS criteria
Piney Creek Solar | 62768 | PCSOL | Solar PV | Virginia | 80 | Dropped - Units whose status does not meet NEEDS criteria
Pinckard Solar | 62787 | PCKND | Solar PV | Alabama | 79.7 | Dropped - Units whose status does not meet NEEDS criteria
Arbor Hill II | 62796 | 1 | Onshore Wind | Iowa | 60 | Dropped - Units whose status does not meet NEEDS criteria
Bluebird Solar LLC | 62797 | BBIRD | Solar PV | Kentucky | 80 | Dropped - Units whose status does not meet NEEDS criteria
Grizzly Wind LLC | 62802 | GW | Onshore Wind | Montana | 80 | Dropped - Units whose status does not meet NEEDS criteria
Buenos Aires Phase 1 | 62803 | BAW1 | Onshore Wind | Texas | 200 | Dropped - Retired/Planned Retirement by 06/2023
Black Bear Wind (MT) | 62808 | BBW | Onshore Wind | Montana | 80 | Dropped - Units whose status does not meet NEEDS criteria
Bakerstand Solar (NY) | 62811 | BKSTD | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
SunEast Skyline Solar Project | 62816 | Q670 | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
SunEast Clay Solar Project | 62819 | Q669 | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
HIMA San Pablo Bayamon | 62841 | BAY1 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Bayamon | 62841 | BAY2 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Bayamon | 62841 | BAY3 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
Water Valley Wind Energy | 62846 | WWE1 | Onshore Wind | Texas | 150 | Dropped - Units whose status does not meet NEEDS criteria
HIMA San Pablo Fajardo | 62850 | FAJ1 | Combustion Turbine | Puerto Rico | 1.3 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Fajardo | 62850 | FAJ2 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Fajardo | 62850 | FAJ3 | Combustion Turbine | Puerto Rico | 0.2 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Cupey | 62851 | CUP1 | Combustion Turbine | Puerto Rico | 0.6 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Cupey | 62851 | CUP2 | Combustion Turbine | Puerto Rico | 0.6 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Humacao | 62852 | HUM1 | Combustion Turbine | Puerto Rico | 0.8 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Humacao | 62852 | HUM2 | Combustion Turbine | Puerto Rico | 0.8 | Dropped - in Alaska or in Hawaii or Puerto Rico
Don Lee BESS 1 LLC | 62872 | DONL1 | Energy Storage | California | 6.5 | Dropped - Retired/Planned Retirement by 06/2023
High Bridge Wind Project | 62894 | WT | Onshore Wind | New York | 100 | Dropped - Units whose status does not meet NEEDS criteria
Midland Wind | 63003 | 1 | Onshore Wind | Illinois | 101.1 | Dropped - Units whose status does not meet NEEDS criteria
Novel Holmquist Solar CSG | 63006 | HOLM | Solar PV | Minnesota | 1 | Dropped - Units whose status does not meet NEEDS criteria
Shakespeare Solar | 63014 | PGR12 | Solar PV | North Carolina | 5 | Dropped - Units whose status does not meet NEEDS criteria
Tip Top Solar Energy Center LLC | 63028 | GEN1 | Solar PV | New Mexico | 220 | Dropped - Units whose status does not meet NEEDS criteria
Rooney Ranch | 63088 | ROONR | Onshore Wind | California | 21 | Dropped - Units whose status does not meet NEEDS criteria
Vineyard Wind 1 | 63093 | VW01 | Offshore Wind | Massachusetts | 800 | Dropped - Units whose status does not meet NEEDS criteria
John Paul Jones | 63095 | JPJDX | Combustion Turbine | Texas | 18.7 | Dropped - Units whose status does not meet NEEDS criteria
Southern Bighorn Solar Hybrid | 63113 | SBS | Solar PV | Nevada | 300 | Dropped - Units whose status does not meet NEEDS criteria
Sand Hill A | 63126 | SNDHA | Onshore Wind | California | 13.5 | Dropped - Units whose status does not meet NEEDS criteria
Cabin Point Solar Center | 63134 | CBNPT | Solar PV | Virginia | 75 | Dropped - Units whose status does not meet NEEDS criteria
Alira | 63193 | UNIT1 | Solar PV | Texas | 222.8 | Dropped - Units whose status does not meet NEEDS criteria
Aero Haven Solar | 63195 | ACP3 | Solar PV | New Jersey | 5 | Dropped - Units whose status does not meet NEEDS criteria
AC Power 2 | 63196 | ACP2 | Solar PV | New Jersey | 3.8 | Dropped - Units whose status does not meet NEEDS criteria
Pettinos Solar | 63197 | ACP4 | Solar PV | New Jersey | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
USS Zanzibar Solar LLC CSG | 63217 | ZNZBR | Solar PV | Minnesota | 1 | Dropped - Units whose status does not meet NEEDS criteria
Obsidian Solar Center | 63488 | OBSLR | Solar PV | Oregon | 400 | Dropped - Units whose status does not meet NEEDS criteria
CED Peoria Solar | 63656 | PS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
Norwalk Hospital Plant | 63673 | EU-02 | Combustion Turbine | Connecticut | 1.3 | Dropped - Units whose status does not meet NEEDS criteria
RE Bravepost LLC | 63730 | BVPST | Solar PV | Texas | 200 | Dropped - Units whose status does not meet NEEDS criteria
Goleta Grid Resiliency | 63736 | BESS1 | Energy Storage | California | 10 | Dropped - Units whose status does not meet NEEDS criteria
West River Solar, LLC | 63806 | PGR28 | Solar PV | North Carolina | 40 | Dropped - Units whose status does not meet NEEDS criteria
CED Beecher Sun Solar | 63823 | BS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
CED Hilltop Solar | 63824 | HS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
TX18 Cottage Meadow Storage | 63879 | TX18 | Energy Storage | Texas | 100 | Dropped - Units whose status does not meet NEEDS criteria
CED Spring Creek Solar | 63948 | CS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
Caden Energix New Kent, LLC | 64036 | ENX08 | Solar PV | Virginia | 20 | Dropped - Units whose status does not meet NEEDS criteria
Great Bear Solar, LLC | 64073 | GBS | Solar PV | Ohio | 46 | Dropped - Units whose status does not meet NEEDS criteria
Highway 9 Solar | 64206 | 2004 | Solar PV | South Carolina | 2 | Dropped - Units whose status does not meet NEEDS criteria
Red Antelope Solar & Energy Storage Farm | 64208 | 30PNA | Solar PV | Arizona | 500 | Dropped - Units whose status does not meet NEEDS criteria
Bellefield 2 Solar & Energy Storage Farm | 64209 | 26SBA | Solar PV | California | 500 | Dropped - Units whose status does not meet NEEDS criteria
Bellefield Solar and Energy Storage Farm | 64210 | 50LWA | Solar PV | California | 500 | Dropped - Units whose status does not meet NEEDS criteria
Aratina Solar Center 2 | 64215 | 45MGA | Solar PV | California | 200 | Dropped - Units whose status does not meet NEEDS criteria
Rockmont Solar and Storage Project | 64216 | 201LC | Solar PV | New Mexico | 100 | Dropped - Units whose status does not meet NEEDS criteria

## Key to Emission Control
Key to Emission Controls in NEEDS v621
NOx Comb Control | Definition | NOx Post-Comb Control | Definition | PM Control | Definition | Mercury_Controls | Definition | HCL_Controls | Definition | CO2_Controls | Definition
AA | Advanced Overfire Air | SCR | Selective Catalytic Reduction | B | Baghouse | ACI | Activated Carbon Injection | DSI | Dry Sobent Injection | CCS | Carbon Capture and Storage
AA + FR | Advanced Overfire Air + Flue Gas Recirculation | SNCR | Selective Non-catalytic Reduction | B + C | Baghouse + Cyclone
AA + LNB | Advanced Overfire Air + Low NOx Burner Technology | ReACT | Regenerative activated coke technology (ReACT) is an integrated multipollutant control approach that removes SOx, NOx, and Hg from coal-fired plants by adsorption with activated coke. Its NOx removal efficiency is around 20%-40%. | B + WS | Baghouse + Wet Scrubber
AA + LNB + LNBO | Advanced Overfire Air + Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air |  |  | C | Cyclone
AA + LNB + OFA | Advanced Overfire Air + Low NOx Burner Technology + Overfire Air |  |  | ESPC | Electrostatic precipitator, cold side
AA + NH3 | Advanced Overfire Air + Ammonia Injection |  |  | ESPC + B | Electrostatic precipitator, cold side + Baghouse
AA + OFA | Advanced Overfire Air + Overfire Air |  |  | ESPC + B + WS | Electrostatic precipitator, cold side + Baghouse + Wet Scrubber
BF | Biased Firing (alternative burners) |  |  | ESPC + C | Electrostatic precipitator, cold side + Cyclone
BF + BOOS + LA | Biased Firing (alternative burners) + Burners-Out-Of-Service + Low excess air |  |  | ESPC + ESPH | Electrostatic precipitator, cold side + Electrostatic precipitator, hot side
BF + LA | Biased Firing (alternative burners) + Low excess air |  |  | ESPC + WESP | Electrostatic precipitator, cold side + Electrostatic precipitator, wet side
BF + LA + LNB | Biased Firing (alternative burners) + Low excess air + Low NOx Burner Technology |  |  | ESPC + WS | Electrostatic precipitator, cold side + Wet Scrubber
BF + LA + OFA | Biased Firing (alternative burners) + Low excess air + Overfire Air |  |  | ESPH | Electrostatic precipitator, hot side
BF + LNB + LNBO | Biased Firing (alternative burners) + Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air |  |  | ESPH + B | Electrostatic precipitator, hot side + Baghouse
BOOS | Burners-Out-Of-Service |  |  | ESPH + B + C | Electrostatic precipitator, hot side + Baghouse + Cyclone
BOOS + FR | Burners-Out-Of-Service + Flue Gas Recirculation |  |  | ESPH + B + WS | Electrostatic precipitator, hot side + Baghouse + Wet Scrubber
BOOS + FR + LNB | Burners-Out-Of-Service + Flue Gas Recirculation + Low NOx Burner Technology |  |  | ESPH + C | Electrostatic precipitator, hot side + Cyclone
BOOS + LA + LNB | Burners-Out-Of-Service + Low excess air + Low NOx Burner Technology |  |  | ESPH + WESP | Electrostatic precipitator, hot side + Electrostatic precipitator, wet side
CF | Fluidized Bed Combustor |  |  | WESP + B | Electrostatic precipitator, wet side + Baghouse
CF + CM + NH3 | Fluidized Bed Combustor + Combustion Modification + Ammonia Injection |  |  | WS | Wet Scrubber
CF + FR + NH3 | Fluidized Bed Combustor + Flue Gas Recirculation + Ammonia Injection
CF + FU + LA | Fluidized Bed Combustor + Fuel Reburning + Low excess air
CF + LA | Fluidized Bed Combustor + Low excess air
CF + LA + NH3 | Fluidized Bed Combustor + Low excess air + Ammonia Injection
CF + LA + OFA | Fluidized Bed Combustor + Low excess air + Overfire Air
CF + LNB + NH3 | Fluidized Bed Combustor + Low NOx Burner Technology + Ammonia Injection
CF + NH3 | Fluidized Bed Combustor + Ammonia Injection
CF + NH3 + OFA | Fluidized Bed Combustor + Ammonia Injection + Overfire Air
CF + OFA | Fluidized Bed Combustor + Overfire Air
CF + other | Fluidized Bed Combustor + other
CM | Combustion Modification
CM + FU | Combustion Modification + Fuel Reburning
CM + FU + LNB | Combustion Modification + Fuel Reburning + Low NOx Burner Technology
CM + FU + LNCB | Combustion Modification + Fuel Reburning + Low NOx Cell Burner
CM + FU + OFA | Combustion Modification + Fuel Reburning + Overfire Air
CO | Combustion Optimization
DLNB | Dry Low NOx Burners
DLNB + H2O | Dry Low NOx Burners + Water Injection
DLNB + H2O + LNB | Dry Low NOx Burners + Water Injection + Low NOx Burner Technology
DLNB + H2O + NH3 | Dry Low NOx Burners + Water Injection + Ammonia Injection
DLNB + H2O + STM | Dry Low NOx Burners + Water Injection + Steam Injection
DLNB + LNB + NH3 | Dry Low NOx Burners + Low NOx Burner Technology + Ammonia Injection
DLNB + LNB + NH3 + STM | Dry Low NOx Burners + Low NOx Burner Technology + Ammonia Injection + Steam Injection
DLNB + NH3 | Dry Low NOx Burners + Ammonia Injection
DLNB + NH3 + STM | Dry Low NOx Burners + Ammonia Injection + Steam Injection
DLNB + STM | Dry Low NOx Burners + Steam Injection
FR | Flue Gas Recirculation
FR + LA | Flue Gas Recirculation + Low excess air
FR + LA + LNB | Flue Gas Recirculation + Low excess air + Low NOx Burner Technology
FR + LNB | Flue Gas Recirculation + Low NOx Burner Technology
FR + LNB + LNBO + OFA | Flue Gas Recirculation + Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air + Overfire Air
FR + LNB + OFA | Flue Gas Recirculation + Low NOx Burner Technology + Overfire Air
FR + LNBO + OFA | Flue Gas Recirculation + Low NOx Burner Technology w/ Overfire Air + Overfire Air
FR + NH3 | Flue Gas Recirculation + Ammonia Injection
FR + NH3 + OFA | Flue Gas Recirculation + Ammonia Injection + Overfire Air
FR + OFA | Flue Gas Recirculation + Overfire Air
FR + STM | Flue Gas Recirculation + Steam Injection
FU + LA | Fuel Reburning + Low excess air
H2O | Water Injection
H2O + NH3 | Water Injection + Ammonia Injection
H2O + NH3 + AA | Water Injection + Ammonia Injection + Advanced Overfire Air
H2O + OFA | Water Injection + Overfire Air
H2O + STM | Water Injection + Steam Injection
LA | Low excess air
LA + LNB | Low excess air + Low NOx Burner Technology
LA + LNB + NH3 | Low excess air + Low NOx Burner Technology + Ammonia Injection
LA + LNB + NH3 + OFA | Low excess air + Low NOx Burner Technology + Ammonia Injection + Overfire Air
LA + LNB + OFA | Low excess air + Low NOx Burner Technology + Overfire Air
LA + NH3 | Low excess air + Ammonia Injection
LA + OFA | Low excess air + Overfire Air
LA + OFA + other | Low excess air + Overfire Air + other
LNB | Low NOx Burner Technology
LNB + LNBO | Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air
LNB + LNBO + OFA | Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air + Overfire Air
LNB + LNCB | Low NOx Burner Technology + Low NOx Cell Burner
LNB + LNCB + OFA | Low NOx Burner Technology + Low NOx Cell Burner + Overfire Air
LNB + NH3 | Low NOx Burner Technology + Ammonia Injection
LNB + NH3 + OFA | Low NOx Burner Technology + Ammonia Injection + Overfire Air
LNB + OFA | Low NOx Burner Technology + Overfire Air
LNB + OFA + NH3 + other | Low NOx Burner Technology + Overfire Air + Ammonia Injection + other
LNB + other | Low NOx Burner Technology + other
LNB + STM | Low NOx Burner Technology + Steam Injection
LNBO | Low NOx Burner Technology w/ Overfire Air
LNBO + OFA | Low NOx Burner Technology w/ Overfire Air + Overfire Air
LNBO + other | Low NOx Burner Technology w/ Overfire Air + other
LNC1 | Low NOx Burner Technology w/ Closed-coupled OFA
LNC2 | Low NOx Burner Technology w/ Separated OFA
LNC2 + H2O | Low NOx Burner Technology w/ Separated OFA + Water Injection
LNC2 + LNC1 | Low NOx Burner Technology w/ Separated OFA + Low NOx Burner Technology w/ Closed-coupled OFA
LNC2 + NH3 | Low NOx Burner Technology w/ Separated OFA + Ammonia Injection
LNC2 + NH3 + OFA | Low NOx Burner Technology w/ Separated OFA + Ammonia Injection + Overfire Air
LNC2 + OFA | Low NOx Burner Technology w/ Separated OFA + Overfire Air
LNC2 + other | Low NOx Burner Technology w/ Separated OFA + other
LNC3 | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
LNC3 + NH3 | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + Ammonia Injection
LNC3 + OFA | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + Overfire Air
LNC3 + other | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + other
LNCB | Low NOx Cell Burner
LNCB + OFA | Low NOx Cell Burner + Overfire Air
NDI | Nitrogen Diluent Injection
NH3 | Ammonia Injection
NH3 + OFA | Ammonia Injection + Overfire Air
NH3 + other | Ammonia Injection + other
NH3 + STM | Ammonia Injection + Steam Injection
OFA | Overfire Air
OFA + LNC1 | Overfire Air + Low NOx Burner Technology w/ Closed-coupled OFA
OFA + LNC2 | Overfire Air + Low NOx Burner Technology w/ Separated OFA
OFA + other | Overfire Air + other
other | Other
ROFA | Rotating Opposed Fired Air
STC | Staged Combustion
STM | Steam Injection