Grizzly Wind LLC | 62802 | GW | Onshore Wind | Montana | 80 | Dropped - Units whose status does not meet NEEDS criteria
Buenos Aires Phase 1 | 62803 | BAW1 | Onshore Wind | Texas | 200 | Dropped - Retired/Planned Retirement by 06/2023
Black Bear Wind (MT) | 62808 | BBW | Onshore Wind | Montana | 80 | Dropped - Units whose status does not meet NEEDS criteria
Bakerstand Solar (NY) | 62811 | BKSTD | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
SunEast Skyline Solar Project | 62816 | Q670 | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
SunEast Clay Solar Project | 62819 | Q669 | Solar PV | New York | 20 | Dropped - Units whose status does not meet NEEDS criteria
HIMA San Pablo Bayamon | 62841 | BAY1 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Bayamon | 62841 | BAY2 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Bayamon | 62841 | BAY3 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
Water Valley Wind Energy | 62846 | WWE1 | Onshore Wind | Texas | 150 | Dropped - Units whose status does not meet NEEDS criteria
HIMA San Pablo Fajardo | 62850 | FAJ1 | Combustion Turbine | Puerto Rico | 1.3 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Fajardo | 62850 | FAJ2 | Combustion Turbine | Puerto Rico | 1.5 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Fajardo | 62850 | FAJ3 | Combustion Turbine | Puerto Rico | 0.2 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Cupey | 62851 | CUP1 | Combustion Turbine | Puerto Rico | 0.6 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Cupey | 62851 | CUP2 | Combustion Turbine | Puerto Rico | 0.6 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Humacao | 62852 | HUM1 | Combustion Turbine | Puerto Rico | 0.8 | Dropped - in Alaska or in Hawaii or Puerto Rico
HIMA San Pablo Humacao | 62852 | HUM2 | Combustion Turbine | Puerto Rico | 0.8 | Dropped - in Alaska or in Hawaii or Puerto Rico
Don Lee BESS 1 LLC | 62872 | DONL1 | Energy Storage | California | 6.5 | Dropped - Retired/Planned Retirement by 06/2023
High Bridge Wind Project | 62894 | WT | Onshore Wind | New York | 100 | Dropped - Units whose status does not meet NEEDS criteria
Midland Wind | 63003 | 1 | Onshore Wind | Illinois | 101.1 | Dropped - Units whose status does not meet NEEDS criteria
Novel Holmquist Solar CSG | 63006 | HOLM | Solar PV | Minnesota | 1 | Dropped - Units whose status does not meet NEEDS criteria
Shakespeare Solar | 63014 | PGR12 | Solar PV | North Carolina | 5 | Dropped - Units whose status does not meet NEEDS criteria
Tip Top Solar Energy Center LLC | 63028 | GEN1 | Solar PV | New Mexico | 220 | Dropped - Units whose status does not meet NEEDS criteria
Rooney Ranch | 63088 | ROONR | Onshore Wind | California | 21 | Dropped - Units whose status does not meet NEEDS criteria
Vineyard Wind 1 | 63093 | VW01 | Offshore Wind | Massachusetts | 800 | Dropped - Units whose status does not meet NEEDS criteria
John Paul Jones | 63095 | JPJDX | Combustion Turbine | Texas | 18.7 | Dropped - Units whose status does not meet NEEDS criteria
Southern Bighorn Solar Hybrid | 63113 | SBS | Solar PV | Nevada | 300 | Dropped - Units whose status does not meet NEEDS criteria
Sand Hill A | 63126 | SNDHA | Onshore Wind | California | 13.5 | Dropped - Units whose status does not meet NEEDS criteria
Cabin Point Solar Center | 63134 | CBNPT | Solar PV | Virginia | 75 | Dropped - Units whose status does not meet NEEDS criteria
Alira | 63193 | UNIT1 | Solar PV | Texas | 222.8 | Dropped - Units whose status does not meet NEEDS criteria
Aero Haven Solar | 63195 | ACP3 | Solar PV | New Jersey | 5 | Dropped - Units whose status does not meet NEEDS criteria
AC Power 2 | 63196 | ACP2 | Solar PV | New Jersey | 3.8 | Dropped - Units whose status does not meet NEEDS criteria
Pettinos Solar | 63197 | ACP4 | Solar PV | New Jersey | 1.2 | Dropped - Units whose status does not meet NEEDS criteria
USS Zanzibar Solar LLC CSG | 63217 | ZNZBR | Solar PV | Minnesota | 1 | Dropped - Units whose status does not meet NEEDS criteria
Obsidian Solar Center | 63488 | OBSLR | Solar PV | Oregon | 400 | Dropped - Units whose status does not meet NEEDS criteria
CED Peoria Solar | 63656 | PS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
Norwalk Hospital Plant | 63673 | EU-02 | Combustion Turbine | Connecticut | 1.3 | Dropped - Units whose status does not meet NEEDS criteria
RE Bravepost LLC | 63730 | BVPST | Solar PV | Texas | 200 | Dropped - Units whose status does not meet NEEDS criteria
Goleta Grid Resiliency | 63736 | BESS1 | Energy Storage | California | 10 | Dropped - Units whose status does not meet NEEDS criteria
West River Solar, LLC | 63806 | PGR28 | Solar PV | North Carolina | 40 | Dropped - Units whose status does not meet NEEDS criteria
CED Beecher Sun Solar | 63823 | BS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
CED Hilltop Solar | 63824 | HS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
TX18 Cottage Meadow Storage | 63879 | TX18 | Energy Storage | Texas | 100 | Dropped - Units whose status does not meet NEEDS criteria
CED Spring Creek Solar | 63948 | CS1 | Solar PV | Illinois | 2 | Dropped - Units whose status does not meet NEEDS criteria
Caden Energix New Kent, LLC | 64036 | ENX08 | Solar PV | Virginia | 20 | Dropped - Units whose status does not meet NEEDS criteria
Great Bear Solar, LLC | 64073 | GBS | Solar PV | Ohio | 46 | Dropped - Units whose status does not meet NEEDS criteria
Highway 9 Solar | 64206 | 2004 | Solar PV | South Carolina | 2 | Dropped - Units whose status does not meet NEEDS criteria
Red Antelope Solar & Energy Storage Farm | 64208 | 30PNA | Solar PV | Arizona | 500 | Dropped - Units whose status does not meet NEEDS criteria
Bellefield 2 Solar & Energy Storage Farm | 64209 | 26SBA | Solar PV | California | 500 | Dropped - Units whose status does not meet NEEDS criteria
Bellefield Solar and Energy Storage Farm | 64210 | 50LWA | Solar PV | California | 500 | Dropped - Units whose status does not meet NEEDS criteria
Aratina Solar Center 2 | 64215 | 45MGA | Solar PV | California | 200 | Dropped - Units whose status does not meet NEEDS criteria
Rockmont Solar and Storage Project | 64216 | 201LC | Solar PV | New Mexico | 100 | Dropped - Units whose status does not meet NEEDS criteria

## Key to Emission Control
Key to Emission Controls in NEEDS for EPA Post-IRA 2022 Reference Case
NOx Comb Control | Definition | NOx Post-Comb Control | Definition | PM Control | Definition | Mercury_Controls | Definition | HCL_Controls | Definition | CO2_Controls | Definition
AA | Advanced Overfire Air | SCR | Selective Catalytic Reduction | B | Baghouse | ACI | Activated Carbon Injection | DSI | Dry Sobent Injection | CCS | Carbon Capture and Storage
AA + FR | Advanced Overfire Air + Flue Gas Recirculation | SNCR | Selective Non-catalytic Reduction | B + C | Baghouse + Cyclone
AA + LNB | Advanced Overfire Air + Low NOx Burner Technology | ReACT | Regenerative activated coke technology (ReACT) is an integrated multipollutant control approach that removes SOx, NOx, and Hg from coal-fired plants by adsorption with activated coke. Its NOx removal efficiency is around 20%-40%. | B + WS | Baghouse + Wet Scrubber
AA + LNB + LNBO | Advanced Overfire Air + Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air |  |  | C | Cyclone
AA + LNB + OFA | Advanced Overfire Air + Low NOx Burner Technology + Overfire Air |  |  | ESPC | Electrostatic precipitator, cold side
AA + NH3 | Advanced Overfire Air + Ammonia Injection |  |  | ESPC + B | Electrostatic precipitator, cold side + Baghouse
AA + OFA | Advanced Overfire Air + Overfire Air |  |  | ESPC + B + WS | Electrostatic precipitator, cold side + Baghouse + Wet Scrubber
BF | Biased Firing (alternative burners) |  |  | ESPC + C | Electrostatic precipitator, cold side + Cyclone
BF + BOOS + LA | Biased Firing (alternative burners) + Burners-Out-Of-Service + Low excess air |  |  | ESPC + ESPH | Electrostatic precipitator, cold side + Electrostatic precipitator, hot side
BF + LA | Biased Firing (alternative burners) + Low excess air |  |  | ESPC + WESP | Electrostatic precipitator, cold side + Electrostatic precipitator, wet side
BF + LA + LNB | Biased Firing (alternative burners) + Low excess air + Low NOx Burner Technology |  |  | ESPC + WS | Electrostatic precipitator, cold side + Wet Scrubber
BF + LA + OFA | Biased Firing (alternative burners) + Low excess air + Overfire Air |  |  | ESPH | Electrostatic precipitator, hot side
BF + LNB + LNBO | Biased Firing (alternative burners) + Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air |  |  | ESPH + B | Electrostatic precipitator, hot side + Baghouse
BOOS | Burners-Out-Of-Service |  |  | ESPH + B + C | Electrostatic precipitator, hot side + Baghouse + Cyclone
BOOS + FR | Burners-Out-Of-Service + Flue Gas Recirculation |  |  | ESPH + B + WS | Electrostatic precipitator, hot side + Baghouse + Wet Scrubber
BOOS + FR + LNB | Burners-Out-Of-Service + Flue Gas Recirculation + Low NOx Burner Technology |  |  | ESPH + C | Electrostatic precipitator, hot side + Cyclone
BOOS + LA + LNB | Burners-Out-Of-Service + Low excess air + Low NOx Burner Technology |  |  | ESPH + WESP | Electrostatic precipitator, hot side + Electrostatic precipitator, wet side
CF | Fluidized Bed Combustor |  |  | WESP + B | Electrostatic precipitator, wet side + Baghouse
CF + CM + NH3 | Fluidized Bed Combustor + Combustion Modification + Ammonia Injection |  |  | WS | Wet Scrubber
CF + FR + NH3 | Fluidized Bed Combustor + Flue Gas Recirculation + Ammonia Injection
CF + FU + LA | Fluidized Bed Combustor + Fuel Reburning + Low excess air
CF + LA | Fluidized Bed Combustor + Low excess air
CF + LA + NH3 | Fluidized Bed Combustor + Low excess air + Ammonia Injection
CF + LA + OFA | Fluidized Bed Combustor + Low excess air + Overfire Air
CF + LNB + NH3 | Fluidized Bed Combustor + Low NOx Burner Technology + Ammonia Injection
CF + NH3 | Fluidized Bed Combustor + Ammonia Injection
CF + NH3 + OFA | Fluidized Bed Combustor + Ammonia Injection + Overfire Air
CF + OFA | Fluidized Bed Combustor + Overfire Air
CF + other | Fluidized Bed Combustor + other
CM | Combustion Modification
CM + FU | Combustion Modification + Fuel Reburning
CM + FU + LNB | Combustion Modification + Fuel Reburning + Low NOx Burner Technology
CM + FU + LNCB | Combustion Modification + Fuel Reburning + Low NOx Cell Burner
CM + FU + OFA | Combustion Modification + Fuel Reburning + Overfire Air
CO | Combustion Optimization
DLNB | Dry Low NOx Burners
DLNB + H2O | Dry Low NOx Burners + Water Injection
DLNB + H2O + LNB | Dry Low NOx Burners + Water Injection + Low NOx Burner Technology
DLNB + H2O + NH3 | Dry Low NOx Burners + Water Injection + Ammonia Injection
DLNB + H2O + STM | Dry Low NOx Burners + Water Injection + Steam Injection
DLNB + LNB + NH3 | Dry Low NOx Burners + Low NOx Burner Technology + Ammonia Injection
DLNB + LNB + NH3 + STM | Dry Low NOx Burners + Low NOx Burner Technology + Ammonia Injection + Steam Injection
DLNB + NH3 | Dry Low NOx Burners + Ammonia Injection
DLNB + NH3 + STM | Dry Low NOx Burners + Ammonia Injection + Steam Injection
DLNB + STM | Dry Low NOx Burners + Steam Injection
FR | Flue Gas Recirculation
FR + LA | Flue Gas Recirculation + Low excess air
FR + LA + LNB | Flue Gas Recirculation + Low excess air + Low NOx Burner Technology
FR + LNB | Flue Gas Recirculation + Low NOx Burner Technology
FR + LNB + LNBO + OFA | Flue Gas Recirculation + Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air + Overfire Air
FR + LNB + OFA | Flue Gas Recirculation + Low NOx Burner Technology + Overfire Air
FR + LNBO + OFA | Flue Gas Recirculation + Low NOx Burner Technology w/ Overfire Air + Overfire Air
FR + NH3 | Flue Gas Recirculation + Ammonia Injection
FR + NH3 + OFA | Flue Gas Recirculation + Ammonia Injection + Overfire Air
FR + OFA | Flue Gas Recirculation + Overfire Air
FR + STM | Flue Gas Recirculation + Steam Injection
FU + LA | Fuel Reburning + Low excess air
H2O | Water Injection
H2O + NH3 | Water Injection + Ammonia Injection
H2O + NH3 + AA | Water Injection + Ammonia Injection + Advanced Overfire Air
H2O + OFA | Water Injection + Overfire Air
H2O + STM | Water Injection + Steam Injection
LA | Low excess air
LA + LNB | Low excess air + Low NOx Burner Technology
LA + LNB + NH3 | Low excess air + Low NOx Burner Technology + Ammonia Injection
LA + LNB + NH3 + OFA | Low excess air + Low NOx Burner Technology + Ammonia Injection + Overfire Air
LA + LNB + OFA | Low excess air + Low NOx Burner Technology + Overfire Air
LA + NH3 | Low excess air + Ammonia Injection
LA + OFA | Low excess air + Overfire Air
LA + OFA + other | Low excess air + Overfire Air + other
LNB | Low NOx Burner Technology
LNB + LNBO | Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air
LNB + LNBO + OFA | Low NOx Burner Technology + Low NOx Burner Technology w/ Overfire Air + Overfire Air
LNB + LNCB | Low NOx Burner Technology + Low NOx Cell Burner
LNB + LNCB + OFA | Low NOx Burner Technology + Low NOx Cell Burner + Overfire Air
LNB + NH3 | Low NOx Burner Technology + Ammonia Injection
LNB + NH3 + OFA | Low NOx Burner Technology + Ammonia Injection + Overfire Air
LNB + OFA | Low NOx Burner Technology + Overfire Air
LNB + OFA + NH3 + other | Low NOx Burner Technology + Overfire Air + Ammonia Injection + other
LNB + other | Low NOx Burner Technology + other
LNB + STM | Low NOx Burner Technology + Steam Injection
LNBO | Low NOx Burner Technology w/ Overfire Air
LNBO + OFA | Low NOx Burner Technology w/ Overfire Air + Overfire Air
LNBO + other | Low NOx Burner Technology w/ Overfire Air + other
LNC1 | Low NOx Burner Technology w/ Closed-coupled OFA
LNC2 | Low NOx Burner Technology w/ Separated OFA
LNC2 + H2O | Low NOx Burner Technology w/ Separated OFA + Water Injection
LNC2 + LNC1 | Low NOx Burner Technology w/ Separated OFA + Low NOx Burner Technology w/ Closed-coupled OFA
LNC2 + NH3 | Low NOx Burner Technology w/ Separated OFA + Ammonia Injection
LNC2 + NH3 + OFA | Low NOx Burner Technology w/ Separated OFA + Ammonia Injection + Overfire Air
LNC2 + OFA | Low NOx Burner Technology w/ Separated OFA + Overfire Air
LNC2 + other | Low NOx Burner Technology w/ Separated OFA + other
LNC3 | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
LNC3 + NH3 | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + Ammonia Injection
LNC3 + OFA | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + Overfire Air
LNC3 + other | Low NOx Burner Technology w/ Closed-coupled/Separated OFA + other
LNCB | Low NOx Cell Burner
LNCB + OFA | Low NOx Cell Burner + Overfire Air
NDI | Nitrogen Diluent Injection
NH3 | Ammonia Injection
NH3 + OFA | Ammonia Injection + Overfire Air
NH3 + other | Ammonia Injection + other
NH3 + STM | Ammonia Injection + Steam Injection
OFA | Overfire Air
OFA + LNC1 | Overfire Air + Low NOx Burner Technology w/ Closed-coupled OFA
OFA + LNC2 | Overfire Air + Low NOx Burner Technology w/ Separated OFA
OFA + other | Overfire Air + other
other | Other
ROFA | Rotating Opposed Fired Air
STC | Staged Combustion
STM | Steam Injection