## Factor Summary
Key Parameters | Results
SCC | 50300601
Does the SCC contain more than 15 sources? | Yes
Pollutant | CARBON MONOXIDE
Units | LB
Activity | MILLION BTUS HEAT INPUT
Factor Quality Rating | High
Number of individual test data values used to calculate the emissions factor | 46
Number of individual test data values excluded from the calculation | 7
Composite Test Rating | 58.72
Control Device Configuration | ENCLOSED COMBUSTOR;FLARING
New Candidate Factor Value | 0.0386

## Data Included
Submission_ID | Facility_Name | Facility_City | Facility_State | Location_Name | SCC | AVERAGE_VALUE | Pollutant_Name | Pollutant_Unit | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Run_Date | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Exclude_Reason | PDS_Links
84488667 | Columbia Ridge Landfill and Recycling Center | Arlington | OR | Flare Outlet | 50300601 | 0.0299 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 67.5 | 2007-11-07 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84488667
84489275 | City of Santa Maria Landfill | Santa Maria | CA | Flare Outlet | 50300601 | 0.05 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 58.5 | 2007-08-27 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84489275
84489391 | City of Santa Maria Landfill | Santa Maria | CA | Flare Outlet | 50300601 | 0.0859 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 64 | 2008-06-03 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84489391
84489841 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Outlet | 50300601 | 0.00197 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | DLL | 58.5 | 2008-01-14 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84489841
84490505 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | McGill Flare Outlet | 50300601 | 0.0201 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 61 | 2007-10-01 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84490505
84490615 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | John Zink Flare Outlet | 50300601 | 0.0009 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 61 | 2007-10-02 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84490615
84484482 | Halifax Landfill | Halifax | MA | Flare Outlet Stack | 50300601 | 0.0273 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 68.5 | 1996-04-22 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84484482
84484874 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Exhaust | 50300601 | 0.121 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 73.5 | 1997-03-18 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84484874
84492177 | Greater Wenatchee Regional Landfill and Recycling | East Wenatchee | WA | Flare Outlet | 50300601 | 0.0008 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | DLL | 66.5 | 2007-02-08 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84492177
84492653 | TriCities Recycling Disposal Facility | Fremont | CA | Flare Outlet | 50300601 | 0.16 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 46 | 2008-06-04 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84492653
84492817 | Redwood Landfill | Novato | CA | Flare Outlet | 50300601 | 0.071 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 45 |  | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84492817
84492993 | Redwood Landfill | Novato | CA | Flare Outlet | 50300601 | 0.0367 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 80 | 2005-07-28 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84492993
84493023 | Anderson Landfill | Anderson | CA | Flare Outlet | 50300601 | 0.001 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 71 | 2007-05-02 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84493023
84493171 | Guadalupe Rubbish Disposal Facility | San Jose | CA | Flare Outlet | 50300601 | 0.00333 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 65 | 2005-10-07 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84493171
84493329 | Kirby Canyon Recycling & Disposal Facility | Morgan Hill | CA | Flare Outlet | 50300601 | 0.0353 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 79 | 2005-01-06 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84493329
84493519 | Guadalupe Rubbish Disposal Facility | San Jose | CA | Flare Outlet | 50300601 | 0.000112 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 62 | 2008-08-27 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84493519
84493583 | Guadalupe Rubbish Disposal Facility | San Jose | CA | Flare Outlet | 50300601 | 0.000107 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 59 | 2008-08-27 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84493583
84493707 | Guadalupe Rubbish Disposal Facility | San Jose | CA | Flare Outlet | 50300601 | 0.0172 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 69 | 2006-09-26 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84493707
84493869 | Kirby Canyon Recycling & Disposal Facility | Morgan Hill | CA | Flare Outlet | 50300601 | 0.01 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 54 | 2007-11-06 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84493869
84494043 | Kirby Canyon Recycling & Disposal Facility | Morgan Hill | CA | Flare Outlet | 50300601 | 0.00667 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | DLL | 57 | 2007-11-06 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494043
84494117 | Kirby Canyon Recycling & Disposal Facility | Morgan Hill | CA | Flare Outlet | 50300601 | 0.001 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 62 | 2008-01-23 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494117
84494239 | Kirby Canyon Recycling & Disposal Facility | Morgan Hill | CA | Flare Outlet | 50300601 | 0.001 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 59 | 2008-01-23 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494239
84494421 | Okeechobee Landfill | Okeechobee | FL | Flare Outlet (EU 003) | 50300601 | 0.0233 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 51 | 2007-10-18 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494421
84494586 | Redwood Landfill | Novato | CA | Flare A-50 Outlet | 50300601 | 0.0813 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2006-06-07 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494586
84494640 | Redwood Landfill | Novato | CA | Flare A-51 Outlet | 50300601 | 0.0277 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2006-06-08 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494640
84494734 | Redwood Landfill | Novato | CA | Flare A-50 Outlet | 50300601 | 0.133 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2007-05-31 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494734
84494952 | Redwood Landfill | Novato | CA | Flare A-51 Outlet | 50300601 | 0.0517 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2007-05-30 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84494952
84495170 | Tri-Cities Recycling and Disposal Facility | Fremont | CA | Flare Outlet | 50300601 | 0.0223 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2007-06-19 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84495170
84495252 | Kirby Canyon Recycling & Disposal Facility | Morgan Hill | CA | Flare Outlet | 50300601 | 0.0107 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2005-12-15 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84495252
84495348 | Tri-Cities Recycling and Disposal Facility | Fremont | CA | Flare Outlet | 50300601 | 0.00167 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 66 | 2006-06-28 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84495348
84486815 | Altamont Landfill | Livermore | CA | Flare Exhaust | 50300601 | 0.00292 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 60 | 2008-07-30 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84486815
84487063 | Forward, Inc. (Austin Road Landfill) | Manteca | CA | Flare Exhaust | 50300601 | 0.004 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 42.5 | 2006-06-28 | CARB 100.1 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84487063
84487247 | Forward, Inc. (Austin Road Landfill) | Manteca | CA | Flare Exhaust | 50300601 | 0.149 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 50.5 | 2007-05-03 | CARB 100.1 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84487247
84487499 | Keller Canyon Landfill | Pittsburg | CA | Flare Outlet | 50300601 | 7.77e-05 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 44 | 2006-10-03 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84487499
84487829 | City of Palo Alto Landfill | East Palo Alto | CA | Flare Exhaust | 50300601 | 0.0009 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 48 | 2007-09-28 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84487829
84488056 | Redwood Landfill | Novato | CA | Flare Outlet | 50300601 | 0.0167 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 47 | 2008-05-14 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84488056
84488451 | Central Maui Municipal Solid Waste Landfill | Puunene | HI | Flare Outlet | 50300601 | 0.0987 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 69 | 2008-11-19 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84488451
84488988 | San Marcos Landfill | San Marcos | CA | Flare 1 Outlet | 50300601 | 0.215 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 85.5 | 1994-11-18 | SDAPCD 20 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84488988
84489205 | San Marcos Landfill | San Marcos | CA | Flare 2 Outlet | 50300601 | 0.0713 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 72 | 1994-11-17 | SDAPCD 20 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84489205
84489567 | Sunshine Canyon Landfill | Sylmar | CA | Flare Outlet | 50300601 | 0.0176 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 71 | 2007-08-28 | SCAQMD 100.1 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84489567
84489761 | Sunshine Canyon Landfill | Sylmar | CA | Flare Outlet | 50300601 | 0.0175 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 42 | 2007-06-01 | SCAQMD 100.1 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84489761
84489953 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Outlet | 50300601 | 0.0008 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 48 | 2001-10-22 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84489953
84490173 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Outlet | 50300601 | 0.0984 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 59.5 | 2005-10-11 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84490173
84490397 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Outlet | 50300601 | 0.0025 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 59.5 | 2005-10-13 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84490397
84490959 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Outlet | 50300601 | 0.0424 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 61.5 | 2003-09-18 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84490959
84491033 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Outlet | 50300601 | 0.00427 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 61 | 2003-09-17 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  |  | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84491033

## Data Excluded
Submission_ID | Facility_Name | Facility_City | Facility_State | Location_Name | SCC | AVERAGE_VALUE | Pollutant_Name | Pollutant_Unit | Measure | Material | Action | Detection_Limit_Flag | Test_Report_Rating | Test_Run_Date | Test_Method | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Exclude_Reason | PDS_Links
84488209 | Vasco Road Landfill | Livermore | CA | Flare Exhaust | 50300601 | 0.0056 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | DLL | 41 | 38953 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  | Data value does not improve the factor quality rating. | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84488209
84485132 | City of Sacramento Landfill | Sacramento | CA | Flare Outlet | 50300601 | 0.0008 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | BDL | 41 | 35233 | CARB Method 100 | ENCLOSED COMBUSTOR | FLARING |  |  |  | Data value does not improve the factor quality rating. | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84485132
84487647 | City of Palo Alto Landfill | East Palo Alto | CA | Flare Outlet | 50300601 | 0.0013 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 40 | 39713 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  | Data value does not improve the factor quality rating. | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84487647
84487427 | Keller Canyon Landfill | Pittsburg | CA | Flare Outlet | 50300601 | 0.000105 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 39 | 39385 | BAAQMD ST-6 | ENCLOSED COMBUSTOR | FLARING |  |  |  | Data value does not improve the factor quality rating. | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84487427
84488647 | Otay Landfill | Chula Vista | CA | Flare Outlet | 50300601 | 0.00567 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 26 | 38197 | SDAPCD 100 | ENCLOSED COMBUSTOR | FLARING |  |  |  | Data value does not improve the factor quality rating. | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84488647
84484630 | Halifax Landfill | Halifax | MA | Flare Outlet Stack | 50300601 | 0.0273 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 68.5 | 35177 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  | Duplicate | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84484630
84490791 | Simi Valley Landfill and Recycling Center | Simi Valley | CA | Flare Outlet | 50300601 | 0.0424 | Carbon Monoxide | LB | MILLION BTUS | HEAT | INPUT | ADL | 61.5 | 37882 | Method 10 | ENCLOSED COMBUSTOR | FLARING |  |  |  | Duplicate | https://cfpub.epa.gov/webfireadmin/FactorModule/ERTDocumentDetailsBySubmissionID.cfm?id=84490791