## Month YEAR
US Environmental Protection Agency Region 8
Drinking Water Section, 1595 Wynkoop Street, Denver, CO 80202-1129, R8DWU@epa.gov
https://www.epa.gov/region8-waterops
Lead and Copper (LCR) Reporting Form for
Distribution Tier Sample Reporting
| PWS ID No: | 083090074 |  |  | SYSTEM NAME: | Eagleman
| PREPARED DATE: | 2024-05-30 |  |  | PREPARED BY: | BB
[5 empty] | TITLE: | tester
REPORTING PERIOD: |  |  |  | TAP SAMPLE SITING PLAN REQUIREMENTS:
Current Year: | 2024 |  |  |  | Tier 1 | Tier 2 | Tier 3 | Other
Monitoring Period | January - June |  |  | Tier Sites Available | 1 | 0 | 9 | 8
Report Due: | July 10, 2024 |  |  | No. of Sites Required | 1 | 0 | 9 | 0
*Instructions at end of form, if needed. |  |  |  | No. of Sites Collected | 1 | 0 | 5 | 4
|  |  |  | No. of Samples Remaining | 0 | 0 | 4 | 0
REPORTING SUMMARY
No. of Samples Required: |  | 10 |  | 90th Percentile Values
Total Sites Available: |  | 18 |  | Lead | 0.001 | mg/L
Any Tiered Site Missing? |  | Yes |  | Copper | 0.097 | mg/L
Any New Location Added? |  | Yes
DAILY MEASUREMENTS: | [8 empty] | Result Check
Sample Location |  | Sample Site Tier |  |  |  |  | Lead | Copper | Lead | Copper | Calendar | [8 empty] | TSSP |  | Regular or Backup |  | Lead |  |  |  |  | Copper
|  |  | Regular or Backup | Is this located on your TSSP? | Materials | Construction Year | mg/L | mg/L | mg/L | mg/L | Regular Months | Due Date |  | Tiered | Number of Sites |  | Available | Required Remaining | Samples Required | Yes/No |  |  | Order | Rank | Reverse Rank | Percentile | 90th percentile | Conc. | Rank | Reverse Rank | Percentile | 90th percentile | Conc.
John Mitchell |  | Other | Regular | Yes |  |  | 2 | 0.043 | 2 | 0.043 | January - June | July | 2024 | Tier 1 | 1 | Total |  | 10 |  | Yes | 0 | Regular | 1 | 1 | 10 | 1 | 1 | 2 | 1 | 10 | 1 | 1 | 1.84
Roy Small |  | Other | Backup |  |  |  | ND | 0.012 | 0 | 0.012 | July - December | January | 2025 | Tier 2 | 0 | Tier 1 | 1 | 9 | 1 | No | 0 | Backup | 2 | 2 | 9 | 0.9 | 0.9 | 0.001 | 2 | 9 | 0.9 | 0.9 | 0.097
Glen Eagleman |  | Tier 1 | Regular |  |  |  | 0 | 0.097 | 0 | 0.097 | Annual | October | 2024 | Tier 3 | 5 | Tier 2 | 0 | 9 | 0 |  | 0 | N/A | 3 | 3 | 8 | 0.8 |  | 0 | 3 | 8 | 0.8 |  | 0.063
#2 Cabin Shadow Heig |  | Other | Regular |  |  |  | ND | 0.013 | 0 | 0.013 | 3-Year | October | 2024 | Other | 4 | Tier 3 | 9 | 0 | 9 |  | 0 |  | 4 | 4 | 7 | 0.7 |  | 0 | 4 | 7 | 0.7 |  | 0.043
Kyle Mcdonald |  | Other | Backup |  |  |  | ND | 0.063 | 0 | 0.063 | [5 empty] | Other | 8 | 0 | 0 |  | 0 |  | 5 | 5 | 6 | 0.6 |  | 0 | 5 | 6 | 0.6 |  | 0.038
Dale Johnson |  | Tier 3 | Regular |  |  |  | ND | 0.028 | 0 | 0.028 | [10 empty] | 0 |  | 6 | 6 | 5 | 0.5 |  | 0 | 6 | 5 | 0.5 |  | 0.029
Cory Young |  | Tier 3 | Regular |  |  |  | ND | 0.02 | 0 | 0.02 | [10 empty] | 0 |  | 7 | 7 | 4 | 0.4 |  | 0 | 7 | 4 | 0.4 |  | 0.028
Sylvia Rossette |  | Tier 3 | Backup |  |  |  | 0.001 | 0.038 | 0.001 | 0.038 | [10 empty] | 0 |  | 8 | 8 | 3 | 0.3 |  | 0 | 8 | 3 | 0.3 |  | 0.02
Lyndell Stump |  | Tier 3 | Backup |  |  |  | ND | 1.84 | 0 | 1.84 | [10 empty] | 0 |  | 9 | 9 | 2 | 0.2 |  | 0 | 9 | 2 | 0.2 |  | 0.013
Jordan Big Knife |  | Tier 3 | Backup |  |  |  | ND | 0.029 | 0 | 0.029 | [10 empty] | 0 |  | 10 | 10 | 1 | 0.1 |  | 0 | 10 | 1 | 0.1 |  | 0.012
test |  |  |  | No | [16 empty] | 1 |  | 11
[21 empty] | 0 |  | 12
[21 empty] | 0 |  | 13
[21 empty] | 0 |  | 14
[11 empty] | Month Due | July | [8 empty] | 0 |  | 15
[11 empty] | Year Due | 2024 | [8 empty] | 0 |  | 16
[11 empty] | Report Due | July 10, 2024 | [8 empty] | 0 |  | 17
[21 empty] | 0 |  | 18
[21 empty] | 0 |  | 19
[21 empty] | 0 |  | 20
[21 empty] | 0 |  | 21
[21 empty] | 0 |  | 22
[21 empty] | 0 |  | 23
[21 empty] | 0 |  | 24
[21 empty] | 0 |  | 25
[21 empty] | 0 |  | 26
[21 empty] | 0 |  | 27
[21 empty] | 0 |  | 28
[21 empty] | 0 |  | 29
[21 empty] | 0 |  | 30
[21 empty] | 0 |  | 31
[21 empty] | 0 |  | 32
Public Notification Required
A Tier 1 public notification must be provided to all your consumers. The notification must reasonably reach all your consumers thru media broadcast, post-public
locations, hand delivered or other methods approved by EPA Region 8. The public notification template may be found here: [insert weblink]
INSTRUCTIONS FOR COMPLETING
1. PWS ID No.: Enter the PWS ID assigned to your public water system.
2. System Name: Enter the System Name.
3. Prepared date: Enter the date that the final report is prepared.
4. Prepared by: Enter the name of the person completing the form.
5. Title: Enter title/position of individual preparing the form.
6. Reporting Period Year: Enter the year of the reporting period.
7. Reporting Period Month: Select the month of the reporting period.
8. Report Due: The due date of the report will appear.
9. Cl2 Equipment in Use?: Indicate "Yes" or "No." Indicate "Closed" if system is not providing water to the public.
10. Temp: Enter temperature in Fahrenheit.
11. Cl2 Residual: Enter the free chlorine residual in mg/L.
12. Above minimum Source Temperature Requirement: This will indicate whether the water is above the minimum temperature for the chlorine residual target value.
13. Above minimum Chlorine Residual Requirement: This will indicate whether the water is above the minimum chlorine residual target value.
14. Potential Violation: This will indicate whether there is a potential violation. If yes, please contact EPA immediately.
15. Manual 4-log Inactivation Calculation: If you have a potential violation, you may use the 4-log virus inactivation calculator to see if 4-log was achieved. Still contact EPA.